Table S3. Measured and theoretical mean airway pressure during inspiration (imeas and iTh) with PEEP=0 cmH2O in different respiratory mechanics.

| Mechanics | imeas (cm H2O) | iTh (cm H2O) | Δi (cm H2O) | %Δi (%) |
| --- | --- | --- | --- | --- |
| Normal | 5.2 | 9.2 | -4.0 | -43.5 |
| Obstructive | 4.6 | 9.2 | -4.6 | -50.2 |
| Restrictive | 5.6 | 8.4 | -2.8 | -33.3 |
| All mechanics | 5.1±0.5 | 8.9±0.5 | -3.8±0.9 | -42.3±8.5 |

Difference and percentage of difference between imeas  and iTh were calculated as follow : Δi= imeas – iTh and %Δi= (imeas – iTh) / iTh × 100). Inspiratory trigger = 5 L/min; muscular pressure = 10 cmH2O; respiratory rate = 20/min. Respiratory system mechanics, normal: resistance (R) = 10 cmH2O/L/s and compliance (C) = 60 mL/cmH2O; obstructive: R= 20 cmH2O/L/s and C=60 mL/cmH2O and restrictive: R=10 cmH2O/L/s and C=30 mL/cmH2O.