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	Time point
	Lung volume optimization maneuver outcome
	Oscillator Settings
	No. of CDP steps

	
	
	CDP (cmH2O)
	Frequency (Hz)
	Proximal pressure amplitude (cmH2O)
	

	Before the maneuver
	All  (N = 54)
	20 (18-22)
	12 (12-12)
	78 (71-85)
	N/A

	
	Responsive (N = 41)
	20 (18-22)
	12 (12-12)
	79 (72-85)
	N/A

	
	Unresponsive (N = 13)
	22 (19-22)
	12 (12-12)
	77 (69-82)
	N/A

	At the end of the incremental phase
	All  (N = 54)
	34 (32-36)
	12 (12-12)
	82 (77-86)
	8 (7-9) ‡

	
	Responsive (N = 41)
	35 (33-37)*
	12 (12-12)
	82 (76-86)
	8 (7-10) ‡

	
	Unresponsive (N = 13)
	33 (29-35)*
	12 (10-12)
	81(78-89)
	7 (6-8) ‡

	At the end of the maneuver
	All  (N = 54)
	26 (24-28)
	12 (10-12)
	81 (77-85)
	6 (4-7) †

	
	Responsive (N = 41)
	26 (24-28)*
	12 (12-12)
	82 (77-86)
	6 (4-7) †

	
	Unresponsive (N = 13)
	24 (21-27)*
	12 (9-12)
	80 (72-83)
	6 (4-7) †

	1 hour after the maneuver
	All  (N = 54)
	25 (23-27)
	12 (9-12)
	76 (72-82)
	N/A

	
	Responsive (N = 41)
	26 (24-28)
	12 (10-12)
	76 (73-82)
	N/A

	
	Unresponsive (N = 13)
	24 (22-27)
	12 (9-12)
	75 (72-81)
	N/A



Oscillator settings at start of the lung volume optimization maneuver, at the end of the incremental phase, at the end of the decremental phase and one hour after completion of the maneuver. Number of steps indicates the number of pressure increments during the inflation (denoted by ‡) and deflation (denoted by †) phase. Data are depicted as median (25 – 75 interquartile range). CDP continuous distending pressure; N/A not applicable. * denotes p < 0.05.
