Supplementary material

Additional file 3. SARS-CoV-2-positive air and surface swab samples by room and nursing home, AIR-CO, 2022

|  | Positive Surface Swab (PSS) overall |  |  | PSS Ventilation grids |  | PSS High-touch surfaces |  | Positive Air Samples |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | % | n/N |  | % | n/N | % | n/N | % | n/N |
| All NHs (n=55 rooms) | 61.9 | 99/160 |  | 65.3 | 47/72 | 59.1 | 52/88 | 27.5 | 14/51 |
| NH1 (Ventilation Type A and C) | 46.7 | 7/15 |  | 62.5 | 5/8 | 28.6 | 2/7 | 0.0 | 0/5 |
| Resident room | 33.3 | 1/3 |  | 50.0 | 1/2 | 0.0 | 0/1 | 0.0 | 0/1 |
| Common room for residents | 33.3 | 1/3 |  | 50.0 | 1/2 | 0.0 | 0/1 | 0.0 | 0/1 |
| Staff room | 100 | 3/3 |  | 100 | 2/2 | 100 | 1/1 | 0.0 | 0/1 |
| Common room for residents | 66.7 | 2/3 |  | 100 | 1/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| Resident room | 0.0 | 0/3 |  | 0.0 | 0/1 | 0.0 | 0/2 | 0.0 | 0/1 |
| NH2 (Ventilation Type A) | 84.6 | 11/13 |  | 100 | 4/4 | 77.8 | 7/9 | 0.0 | 0/5 |
| Entrance hall/cafeteria | 50.0 | 2/2 |  | / | / | 50.0 | 2/2 | 0.0 | 0/1 |
| Common room for residents | 100 | 3/3 |  | 100 | 2/2 | 100 | 1/1 | 0.0 | 0/1 |
| Resident room | 66.7 | 2/3 |  | 100 | 1/1 | 100 | 2/2 | 0.0 | 0/1 |
| Resident room | 100 | 3/3 |  | 100 | 1/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| Staff room | 100 | 1/2 |  | / | / | 100 | 1/2 | 0.0 | 0/1 |
| NH3 (Ventilation Type D) | 66.7 | 10/15 |  | 62.5 | 5/8 | 71.4 | 5/7 | 0.0 | 0/5 |
| Staff room | 66.7 | 2/3 |  | 50.0 | 1/2 | 100 | 1/1 | 0.0 | 0/1 |
| Common room for residents | 66.7 | 2/3 |  | 100 | 2/2 | 0.0 | 0/1 | 0.0 | 0/1 |
| Resident room | 100 | 3/3 |  | 100 | 1/1 | 100 | 2/2 | 0.0 | 0/1 |
| Entrance hall/cafeteria | 66.7 | 2/3 |  | 50.0 | 1/2 | 100 | 1/1 | 0.0 | 0/1 |
| Resident room | 33.3 | 1/3 |  | 0.0 | 0/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| NH4 (Ventilation Type D) | 38.5 | 5/13 |  | 25.0 | 1/4 | 44.4 | 4/9 | 20.0 | 1/5 |
| Resident room | 33.3 | 1/3 |  | 0.0 | 0/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| Resident room | 33.3 | 1/3 |  | 0.0 | 0/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| Staff room | 50.0 | 1/2 |  | / | / | 50.0 | 1/2 | 0.0 | 0/1 |
| Common room for residents | 33.3 | 1/3 |  | 50.0 | 1/2 | 0.0 | 0/1 | 0.0 | 0/1 |
| Other | 50.0 | 1/2 |  | / | / | 50.0 | 1/2 | 100 | 1/1 |
| NH5 (Ventilation Type D) | 53.3 | 8/15 |  | 42.9 | 3/7 | 62.5 | 5/8 | 40.0 | 2/5 |
| Entrance hall/cafeteria | 33.3 | 1/3 |  | 0.0 | 0/2 | 100 | 1/1 | 0.0 | 0/1 |
| Resident room | 33.3 | 1/3 |  | 0.0 | 0/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| Resident room | 33.3 | 1/3 |  | 0.0 | 0/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| Common room for residents | 100 | 3/3 |  | 100 | 2/2 | 100 | 1/1 | 100 | 1/1 |
| Staff room | 66.7 | 2/3 |  | 100 | 1/1 | 50.0 | 1/2 | 100 | 1/1 |
| NH6 (Ventilation Type D) | 46.7 | 7/15 |  | 62.5 | 5/8 | 28.6 | 2/7 | 0.0 | 0/4 |
| Entrance hall/cafeteria | 100 | 3/3 |  | 100 | 2/2 | 100 | 1/1 | 0.0 | 0/1 |
| Staff room | 0.0 | 0/3 |  | 0.0 | 0/2 | 0.0 | 0/1 | 0.0 | 0/1 |
| Resident room | 66.7 | 2/3 |  | 100 | 1/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| Common room for residents | 66.7 | 2/3 |  | 100 | 2/2 | 0.0 | 0/1 | 0.0 | 0/1 |
| Resident room | 0.0 | 0/3 |  | 0.0 | 0/1 | 0.0 | 0/2 | / | / |
| NH7 (Ventilation Type D) | 53.3 |  | 8/15 | 50.0 | 5/10 | 60.0 | 3/5 | 25.0 | 1/4 |
| Common room for residents | 66.7 |  | 2/3 | 50.0 | 1/2 | 100 | 1/1 | 0.0 | 0/1 |
| Staff room | 66.7 |  | 2/3 | 50.0 | 1/2 | 100 | 1/1 | 0.0 | 0/1 |
| Resident room | 0.0 |  | 0/3 | 0.0 | 0/2 | 0.0 | 0/1 | 100 | 1/1 |
| Entrance hall/cafeteria | 100 |  | 3/3 | 100 | 2/2 | 100 | 1/1 | 0.0 | 0/1 |
| Resident room | 33.3 |  | 1/3 | 50.0 | 1/2 | 0.0 | 0/1 | / | / |
| NH8 (Ventilation Type D) | 100 |  | 15/15 | 100 | 6/6 | 100 | 9/9 | 0.0 | 0/5 |
| Resident room | 100 |  | 3/3 | 100 | 1/1 | 100 | 2/2 | 0.0 | 0/1 |
| Common room for residents | 100 |  | 3/3 | 100 | 2/2 | 100 | 1/1 | 0.0 | 0/1 |
| Common room for residents | 100 |  | 3/3 | 100 | 1/1 | 100 | 2/2 | 0.0 | 0/1 |
| Staff room | 100 |  | 3/3 | 100 | 1/1 | 100 | 2/2 | 0.0 | 0/1 |
| Resident room | 100 |  | 3/3 | 100 | 1/1 | 100 | 2/2 | 0.0 | 0/1 |
| NH9 (Ventilation Type D) | 35.7 |  | 5/14 | 33.3 | 2/6 | 37.5 | 3/8 | 25.0 | 1/4 |
| Common room for residents | 66.7 |  | 2/3 | 100 | 2/2 | 0.0 | 0/1 | 0.0 | 0/1 |
| Resident room | 0.0 |  | 0/3 | 0.0 | 0/1 | 0.0 | 0/2 | 0.0 | 0/1 |
| Staff room | 0.0 |  | 0/3 | 0.0 | 0/2 | 0.0 | 0/1 | / | / |
| Entrance hall/cafeteria | 33.3 |  | 1/3 | 0.0 | 0/1 | 50.0 | 1/2 | 0.0 | 0/1 |
| Common room for residents | 100 |  | 2/2 | / | / | 100 | 2/2 | 100 | 1/1 |
| NH10 (Ventilation Type D) | 93.3 |  | 14/15 | 100 | 6/6 | 88.9 | 8/9 | 100 | 5/5 |
| Other | 100 |  | 3/3 | 100 | 1/1 | 100 | 2/2 | 100 | 1/1 |
| Resident room | 100 |  | 3/3 | 100 | 1/1 | 100 | 2/2 | 100 | 1/1 |
| Common room for residents | 100 |  | 3/3 | 100 | 2/2 | 100 | 1/1 | 100 | 1/1 |
| Staff room | 66.7 |  | 2/3 | 100 | 1/1 | 50.0 | 1/2 | 100 | 1/1 |
| Resident room | 100 |  | 3/3 | 100 | 1/1 | 100 | 2/2 | 100 | 1/1 |
| NH11 (Ventilation Type D) | 60.0 |  | 9/15 | 100 | 5/5 | 40.0 | 4/10 | 100 | 4/4 |
| Common room for residents | 66.7 |  | 2/3 | 100 | 1/1 | 50.0 | 1/2 | 100 | 1/1 |
| Staff room | 33.3 |  | 1/3 | 100 | 1/1 | 0.0 | 0/2 | 100 | 1/1 |
| Entrance hall/cafeteria | 33.3 |  | 1/3 | 100 | 1/1 | 0.0 | 0/2 | 100 | 1/1 |
| Resident room | 100 |  | 3/3 | 100 | 1/1 | 100 | 2/2 | / | / |
| Resident room | 66.7 |  | 2/3 | 100 | 1/1 | 50.0 | 1/2 | 100 | 1/1 |

PSS: positive surface swab for SARS-CoV-2; NH: nursing home;  Ventilation Type A:   natural ventilation; Ventilation Type C: Natural supply with mechanical exhaust; Ventilation Type D: Fully mechanical ventilation