Additional tables 1-8: overview of included articles

These tables do not have to be placed in the article. If possible, we would like to include these tables in an additional file.

Additional Table 1: the in situ efficacy of aerosolized hydrogen peroxide (aHP) as expressed in environmental outcomes.

| Micro-organism | Study | Country | Care institution | Pre-cleaning | N(%) or CFU of positive cultures pre-intervention | N(%) or CFU of positive cultures post-cleaning | N(%) or CFU of positive cultures post-disinfection | Change in outcome | Statistical significance | aHP device | Type (if noted) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus |  |  |  |  |  |  |  |  |  |  |  |
| Acinetobacter | Cobrado et al, 2018 (24) | Portugal | Burns unit | Yes, with QAC | 30 CFUs/cm2 floor 10 CFUs/cm2 television <5 CFUs/cm2 bed and bathroom | NA | 0 CFUs/cm2 at all locations | -100% | NA | GlosairTM | MDR Acinetobacter |
|  | Lerner et al, 2020 (25) | Israel | Tertiary-care hospital | No | 59/74 sites (80%) | NA | 12/68 sites (18%) | -78% | NA | GlosairTM | CRAB |
| CPE |  |  |  |  |  |  |  |  |  |  |  |
| ESBL |  |  |  |  |  |  |  |  |  |  |  |
| MRSA | Bartels et al., 2008 (116) | Netherlands | Hospital | No | 8/28 chairs (29%) | NA | 1/28 chairs (4%) | -86% | NA | Sterinis® |  |
|  | McKnew et al, 2021 (26) | Australia | Burns unit | Yes, with detergent | 65/309 sites (21%) | 20/309 sites (6.5%) | 18/309 sites (5.8%) | 1-2: -69.2% 1-3: -72% 2-3: -10% | NA | DeproxTM |  |
|  | Taneja et al., 2011(27) | India | Medical Education and Research emergency complex | Yes, with detergent | 379 colonies | NA | 0 colonies | -100% | NA | Fogmaster ULV 7401 |  |
|  | Mitchell et al., 2014 (28) | Australia | Public hospital | Yes, with detergent | NA | 473/1917 rooms (24.7%) | 322/1712 rooms (18.8%) | -23.8% | P<0.001* | Nocospray® |  |
| VRE | McKnew et al, 2021 (26) | Australia | Burns unit | Yes, with detergent | 10/310 sites (3.2%) | 2/310 sites (0.6%) | 0/310 sites (0%) | 1-2: -80% 1-3: -100% 2-3: -100% | NA | DeproxTM |  |
| Clostridium difficile | Shapey et al, 2008 (15) | UK | Elderly care ward | Yes, with detergent | NA | 48/203 sites (24%) 138 CFU | 7/203 sites (3%) 8 CFU | -87.5% -94% | P<0.0001* P<0.0001* | Sterinis® |  |
|  | Barbut et al., 2009 (30) | France | Two hospitals | NA | 34/180 sites (19%) | NA | 4/180 sites (2%) | -91% | P<0.005* | Not described |  |
|  | Yui et al., 2017 (29) | UK | Tertiary referral centre teaching hospital | Yes, with detergent | 131/572 sites (23%) | 105/959 sites (10.6%) | 43/967 sites (4.4%) | 1-2: -52.2% 1-3: -80.6% 2-3: -59.4% | NA | DeproxTM |  |
| Candida auris |  |  |  |  |  |  |  |  |  |  |  |

Statistically significant findings (p<0.05) are indicated with an asterisk (*).

Additional Table 2: the in situ efficacy of aerosolized hydrogen peroxide (aHP) as expressed in clinical outcomes.

| Micro-organism | Study | Country | Care institution | Pre-cleaning | Incidence rate pre-intervention per 1000 PD | Incidence rate post-intervention per 1000 PD | Change in outcome | Statistical Significance | aHP device | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus |  |  |  |  |  |  |  |  |  |  |
| Acinetobacter |  |  |  |  |  |  |  |  |  |  |
| CPE |  |  |  |  |  |  |  |  |  |  |
| ESBL |  |  |  |  |  |  |  |  |  |  |
| MRSA | Mitchell et al., 2014 (28) | Australia | Public hospital | Yes, with detergent | 0.9 | 0.53 | -41.1% | P<0.001* | Nocospray® |  |
| VRE |  |  |  |  |  |  |  |  |  |  |
| Clostridium difficile |  |  |  |  |  |  |  |  |  |  |
| Candida auris |  |  |  |  |  |  |  |  |  |  |

Statistically significant findings (p<0.05) are indicated with an asterisk (*).

Additional Table 3: the in situ efficacy of H2O2 vapour as expressed in environmental outcomes.

| Micro-organism | Study | Country | Care institution | Pre-cleaning | N(%) or CFU of positive cultures pre-intervention | N(%) or CFU of positive cultures post-cleaning | N(%) or CFU of positive cultures post-disinfection | Change in outcome | Statistical Significance | HPV device | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus |  |  |  |  |  |  |  |  |  |  |  |
| Acinetobacter | Otter et al., 2010 (49) | Netherlands | ICU | NA | 10/21 rooms (47.6%) | NA | 0/21 rooms | -100% (10/10) | NA | Bioquell | Acinetobacter spp |
|  | Manian et al., 2011 (6) | US | Hospital | Yes, with bleach | NA | 51/312 rooms (16.4%) | 6/312 rooms (4.5%) | -73% | P=0.04* | Bioquell | A. baumannii |
| CPE |  |  |  |  |  |  |  |  |  |  |  |
| ESBL |  |  |  |  |  |  |  |  |  |  |  |
| MRSA | Otter et al., 2007 (50) | UK | Hospital | Yes, with detergent (QAC) | 18/30 sites1 (60%) | 12/30 sites(40%)2 | 1/30 sites (3.3%)3 | 1-2: -33.3% 1-3: -94.4% 2-3: -91.7% | NA | Bioquell |  |
|  | Dryden et al., 2008 (51) | US | Surgical ward | Not mentioned | 8/29 sites (27.6%) | NA | 1/29 sites (3.4%) | -87.7% | NA | Bioquell |  |
|  | Jeanes et al., 2005 (52) | UK | Surgical ward | Yes, with detergent (chlorine) | 10/28 sites (35.7%) | 2/15 sites (13.3%) | 0/50 sites (0%) | 1-2: -62.7% 1-3: -100% (10/10) 2-3: -100% (2/2) | NA | Bioquell |  |
|  | French et al., 2004 (4) | UK | Hospital | Yes, with detergent | 61/85 sites (72%) | NA | 1/85 sites (1.2%) | -98.3% | NA | Bioquell |  |
|  | Hardy et al., 2007 (53) | UK | ICU | Yes, with detergent | NA | 5/29 sites (17.2%) | 0/29 sites (100%) | -100% (5/5) | NA | Bioquell |  |
|  | Manian et al., 2011 (6) | US | Tertiary care hospital | Yes, with detergent (bleach) | NA | 44 rooms (14.1%) 108 sites (1.9%) | 2 rooms (1.5%) 2 sites (0.75%) | -95.5% -98.1% | NA P=0.04* | Bioquell |  |
|  | Passaretti et al., 2013 (41) | US | Tertiary hospital | Yes, with QAC | NA | 3/170 rooms (1.8%) | 8/397 rooms (2.0%) | +11.1% | P=1.00 | Bioquell |  |
| VRE | Passaretti et al., 2013 (41) | US | Tertiary hospital | Yes, with QAC | NA | 16/170 rooms (9.4%) | 35/397 rooms (8.8%) | -6.4% | P=0.84 | Bioquell |  |
|  | Otter et al., 2007 (50) | UK | Hospital | Yes, with detergent (QAC) | 1/15 sites (6.7%) | 1/15 sites (6.7%) | 0/15 sites (0%) | -100% (1/1) | NA | Bioquell |  |
| C. difficile | Passaretti et al., 2013 (41) | US | Tertiary hospital | Yes, with QAC | NA | 1/170 rooms (0.6%) | 0/397 rooms (0%) | -100% (1/1) | P=0.30 | Bioquell |  |
|  | Boyce et al., 2008 (54) | US | Hospital | Yes, with detergent | NA | 11/43 sites (25.6%) | 0/43 sites (0%) | -100% (11/11) | P<0.001* | Bioquell |  |
| Candida auris |  |  |  |  |  |  |  |  |  |  |  |

Statistically significant findings (p<0.05) are indicated with an asterisk (*).

Additional Table 4: the in situ efficacy of H2O2 vapour as expressed in clinical outcomes.

| Micro-organism | Study | Country | Care institution | Pre-cleaning | Incidence rate pre-intervention per 1000 PD | Incidence rate post-intervention per 1000 PD | Change in outcome | Statistical Significance | HPV device | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus |  |  |  |  |  |  |  |  |  |  |
| Acinetobacter |  |  |  |  |  |  |  |  |  |  |
| CPE |  |  |  |  |  |  |  |  |  |  |
| ESBL |  |  |  |  |  |  |  |  |  |  |
| MRSA | Passaretti et al., 2013 (41) | US | Tertiary hospital | Yes, with QAC | 3.7 | 1.2 | -68% | P=0.30 | Bioquell |  |
| VRE | Passaretti et al., 2013 (41) | US | Tertiary hospital | Yes, with QAC | 11.6 | 2.4 | -79.3% | P<0.01* | Bioquell |  |
| C. difficile | Passaretti et al., 2013 (41) | US | Tertiary hospital | Yes, with QAC | 2.7 | 1.0 | -63% | P=0.19 | Bioquell |  |
|  | Boyce et al., 2008 (54) | US | Hospital; affected wards | Yes, with detergent | 2.28 | 1.28 | -43.9% | P=0.047* | Bioquell |  |
|  | Boyce et al., 2008 (54) | US | Hospital; entire hospital | Yes, with detergent | 1.36 | 0.84 | -38.2% | P=0.26 | Bioquell |  |
|  | McCord et al., 2016 (40) | US | Hospital | Yes, with detergent (sporicidal cleaner) | 1.0 | 0.4 | -60% | P<0.001* | Bioquell |  |
|  | Manian et al., 2013 (39) | US | Community hospital | Yes, with detergent (bleach) | 0.88 | 0.55 | -37% | P<0.0001* | Bioquell |  |
| Candida auris |  |  |  |  |  |  |  |  |  |  |

Statistically significant findings (p<0.05) are indicated with an asterisk (*).

Additional Table 5: the in situ efficacy of ultraviolet C (UV-C) as expressed in environmental outcomes.

| Micro-organism | Study | Country | Care institution | Pre-cleaning | N(%) or CFU of positive cultures pre-intervention | N(%) or CFU of positive cultures post-cleaning | N(%) or CFU of positive cultures post-disinfection | Change in outcome | Statistical Significance | UV-C device | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus |  |  |  |  |  |  |  |  |  |  |  |
| Acinetobacter | Anderson et al., 2013 (76) | US | Two tertiary care hospitals | NA | 52 CFU | NA | 1 CFU | -98% | P=0.25 | Tru-D® |  |
|  | Rutala et al., 2018 (77) | US | Tertiary care hospital | Yes, with QAC Yes, with bleach | NA | 8.95 CFU 0.39 CFU | 0.18 CFU 0.25 CFU | -98% -35.9% | P=0.017* NA | NA | MDR acinetobacter |
| ESBL |  |  |  |  |  |  |  |  |  |  |  |
| MRSA | Nerandzic et al., 2010 (60) | US | Acute care hospital | Not cleaned before decontamination | 28/261 sites (10.7%) 0.02 CFU/cm2 | NA | 2/261 sites (0.8%) 0.0042 CFU/cm2 | -93% -79% | P<0.01* P<0.001* | Tru-D® |  |
|  | Rutala et al., 2010 (61) | US | Acute care hospital | Not cleaned | 81/400 sites (20.3%) 384 CFU | NA | 2/400 sites (0.5%) 19 CFU | -97.5% -95% | P<0.001* P<0.001* | Tru-D® |  |
|  | Yang et al., 2019 (62) | Taiwan | Acute medical care centre | Not cleaned | 35 CFU 15/20 sites (75%) | NA NA | 0 CFU 4/20 sites (20%) | -100% -73.3% | P=0.0005* NA | Hyper Light P3 |  |
|  | Wong et al., 2016 (78) | US | Academic teaching hospital | Yes, with detergent (accelerated hydrogen peroxide) | 21/61 rooms (34.4%) 50/360 sites (13.9%) | 17/61 rooms (27.9%) 21/360 sites (5.8%) | 2/61 rooms (3.3%) 2/360 sites (0.55%) | 1-2:- 19% 1-3: -90.5% 2-3: -88.2% 1-2: -58% 1-3: -96% 2-3: -90.5% | 1-2: P=0.502 2-3: P=0.00003* 1-2: P<0.001* & 2-3: P <0.001* | Tru-D & R-D Rapid disinfector |  |
|  | Mustapha et al., 2018 (79) | US | Veteran affairs hospital | Yes, with detergent | 9/27 rooms (33%) | 3/27 rooms (11%) | 1/27 rooms (1%) | 1-2: -66.7% 1-3: -88.9% 2-3: -66.7% | 1-2: P<0.01* & 2-3: P>0.05 | Clorox® |  |
|  | Rutala et al., 2018 (77) | US | 3 study hospitals | Yes, with detergent (QAC or bleach) | NA | 8.52 CFU 4.39 CFU | 0.11 CFU 0.85 CFU | -98.7% -80.6% | P=0.032* NA | NA |  |
| VRE | Nerandzic et al., 2010 (60) | US | Acute care hospital | Not cleaned before decontamination | 7/261 sites (2.7%) 0.003 CFU/cm2 | NA NA | 1/261 sites (0.38%) 0 CFU/cm2 | -93% -100% | P=0.007* P<0.001* | Tru-D® |  |
|  | Rutala et al., 2010 (61) | US | Acute care hospital | Not cleaned | 384 CFU | NA | 19 CFU | -95.1% | P<0.001* | Tru-D® |  |
|  | Yang et al., 2019 (62) | Taiwan | Acute medical care centre | Not cleaned | 35 CFU 15/20 sites (75%) | NA NA | 0 CFU 4/20 sites (20%) | -100% -73.3% | P=0.0005* NA | Hyper Light P3 |  |
|  | Wong et al., 2016 (78) | US | Academic teaching hospital | Yes, with detergent (accelerated hydrogen peroxide) | 18/61 rooms (29.5%) 41/360 sites (11.4%) | 18/61 rooms (29.5)` 25/360 sites (6.9%) | 3/61 rooms (4.9%) 3/360 sites (0.83%) | -83.3% 1-2: -39% 1-3: -92.7% 2-3: -88% | P=0.0003* P<0.01* | Tru-D® & R-D Rapid disinfector |  |
|  | Anderson et al., 2013 (76) | US | Two tertiary care hospitals | Unknown | 712 CFU | NA | 15 CFU | -97.9% | P<0.0001* | Tru-D® |  |
|  | Rutala et al., 2018 (77) | US | 3 study hospitals | Yes, with detergent (QAC or bleach) | NA | 39.57 CFU 2.43 CFU | 0.21 CFU 1.9 CFU | -99.5% -21.8% | P=0.034* NA | NA |  |
| C. Difficile | Nerandzic et al., 2010 (60) | US | Acute care hospital | Not cleaned before decontamination | 9/261 sites (3.4%) 0.01 CFU/cm2 | NA NA | 1/261 sites (0.38%) 0.0004 CFU/cm2 | -80% -96% | P=0.02* P<0.001* | Tru-D® |  |
|  | Wong et al., 2016 (78) | US | Academic teaching hospital | Yes, with detergent (accelerated hydrogen peroxide) | 7/22 rooms (31.8%) 9/125 sites (7.2%) | 5/22 rooms (22.7%) 5/125 sites (4%) | 0/22 rooms(0%) 0/125 sites (0%) | 1-2: -28.6% 1-3: -100% 2-3: -100% 1-2: -44.4% 1-3: -100% 2-3: -100% | 1-2: P=0.617 2-3: P=0.0736 1-2: P =0.343 2-3: P<0.001* | Tru-D® & R-D Rapid disinfector |  |
|  | Anderson et al., 2013 (76) | US | Two tertiary care hospitals | Unknown | 724 CFU | NA | 51 CFU | -93% | P=0.25 | Tru-D |  |
|  | Liscynesky et al., 2017 (80) | UK | Comprehensive cancer centre | Yes, with detergent (bleach) | NA | 32/238 sites (13%) | 1/238 sites (0.4%) | -96.9% | NA | Surfacide UV-C |  |
|  | Rutala et al., 2018 (77) | US | 3 study hospitals | Yes, with detergent (QAC or bleach) | NA | 3.76 CFU 4.48 CFU | 2.86 CFU 3.25 CFU | -23.9% -27.5% | NA NA | NA |  |
|  | Mustapha et al., 2018 (79) | US | Veteran affairs hospital | Yes, with detergent | 9/27 rooms (33%) | 0/27 rooms | 0/27 rooms | -100% by cleaning (9/9) | P<0.01* (for cleaning) | Clorox® |  |
| Candida auris | Mustapha et al., 2018 (79) | US | Veteran affairs hospital | Yes, with detergent | 8/27 rooms (30%) | 0/27 rooms | 0/27 rooms | -100% by cleaning (9/9) | P<0.01* (for cleaning) | Clorox® |  |

Statistically significant findings (p<0.05) are indicated with an asterisk (*)

Additional Table 6: the in situ efficacy of ultraviolet C (UV-C) as expressed in clinical outcomes.

| Micro-organism | Study | Country | Care institution | Pre-cleaning | Incidence rate pre-intervention per 1000 PD | Incidence rate post-intervention per 1000 PD | Change in outcome | Statistical Significance | UV-C device | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus |  |  |  |  |  |  |  |  |  |  |
| Acinetobacter | Anderson et al., 2018 (81) | US | 9 hospitals | Yes, with detergent (QAC) | 0.018 | 0.008 | -55.5% | NA | TRU-D® | MDR Acinetobacter spp |
|  | Raggi et al., 2018 (82) | US | Community hospital | Yes, with detergent | 0.34 | 0.16 | -53.1% | P=0.03* | Skrypton IPT UV-C | Acinetobacter baumannii |
|  | Napolitano et al., 2015 (83) | US | Community hospital | Yes, with detergent | 0.39 | 0.11 | -71.8% | P=0.005* | IRIS TM 3200m | Acinetobacter baumannii |
| CPE | Raggi et al., 2018 (82) | US | Community hospital | Yes, with detergent | 1.16 | 1.22 | +7.5% | P=0.36 | Skrypton IPT UV-C | K. Pneumoniae |
|  | Napolitano et al., 2015 (83) | US | Community hospital | Yes, with detergent | 0.44 | 0 | -100% | P<0.001* | IRIS TM 3200m | K. Pneumoniae |
| ESBL | Raggi et al., 2018 (82) | US | Community hospital | Yes, with detergent | 1.29 | 1.16 | -12.9% | P=0.22 | Skryton IPT UV-C | Pseudomonas aeruginosa |
| MRSA | Raggi et al., 2018 (82) | US | Community hospital | Yes, with detergent | 1.42 | 0.98 | -30.8% | P=0.02* | Skryton IPT UV-C |  |
|  | Napolitano et al., 2015 (83) | US | Community hospital | Yes, with detergent | 0.39 | 0.38 | -1.2% | P=1 | IRISTM 3200m |  |
|  | Anderson et al., 2018 (81) | US | 9 hospitals | Yes, with detergent (QAC) | 0.57 | 0.63 | +9.5% | P=0.42 | Tru-D® |  |
| VRE | Anderson et al., 2018 (81) | US | 9 hospitals | Yes, with detergent (QAC) | 0.324 | 0.323 | -0.3% | P=0.048* | Tru-D® |  |
|  | Raggi et al., 2018 (82) | US | Community hospital | Yes, with detergent | 0.68 | 0.45 | -33.8% | P=0.005* | Skrypton IPT UV-C |  |
|  | Napolitano et al., 2015 (83) | US | Community hospital | Yes, with detergent | 1 | 0.88 | -12.3% | P=0.14 | IRIS TM 3200m |  |
| C. Difficile | Anderson et al., 2018 (81) | US | 9 hospitals | Yes, with detergent (QAC) | 1.01 | 0.913 | -9.6% | P=0.031* | Tru-D® |  |
|  | Pegues et al., 2017 (84) | US | Haematology-oncology unit | Yes, with detergent | 3.03 | 2.29 | -25% | P=0.03* | Optimum-UV® |  |
|  | McMullen et al., 2020 (85) | US | 3 hospitals | Yes, with detergent | 0.69 0.34 0.96 | 0.64 0.46 1.18 | -7.2% +26.1% +18.6% | P=0.53 P=0.22 P=0.22 | Surfacide UV-C |  |
|  | Liscynesky et al., 2017 (80) | UK | Comprehensive cancer centre | Yes, with detergent (bleach) | 1.29 | 1.14 | -11.6% | NA | Surfacide UV-C |  |
|  | Napolitano et al., 2015 (83) | US | Community hospital | Yes, with detergent | 1.23 | 0.66 | -46.2% | P<0.001* | IRIS TM 3200m |  |
| Candida auris |  |  |  |  |  |  |  |  |  |  |

Statistically significant findings (p<0.05) are indicated with an asterisk (*)

Additional Table 7: the in situ efficacy of pulsed xenon ultraviolet (PX-UV) as expressed in environmental outcomes.

| Micro-organism | Study | Country | Care institution | Pre-cleaning | N(%) or CFU of positive cultures pre-intervention | N(%) or CFU of positive cultures post-cleaning | N(%) or CFU of positive cultures post-disinfection | Change in outcome | Statistical Significance | Machine | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus |  |  |  |  |  |  |  |  |  |  |  |
| Acinetobacter |  |  |  |  |  |  |  |  |  |  |  |
| CPE |  |  |  |  |  |  |  |  |  |  |  |
| ESBL |  |  |  |  |  |  |  |  |  |  |  |
| MRSA | Nerandzic et al., 2015 (69) | US | 2 acute care hospitals | Without cleaning | 11/112 sites (10%) 9 CFU | NA | 1/112 sites (0.9%) 2 CFU | -90.9% -77.8% | P<0.01* | Xenex® |  |
|  | Nerandzic et al., 2015 (69) | US | 2 acute care hospitals | With cleaning (chlorine) | 11/113 sites (10%) 96 CFU | NA | 2/113 sites (2%) 12 CFU | -81.8% -87.5% | P<0.01* | Xenex® |  |
|  | Zeber et al., 2018 (97) | US | 4 Veterans affairs hospitals | Yes, with disinfectant | NA | 397 colonies per room | 98 colonies per room | -75.3% | NA | Xenex® |  |
|  | Kitagawa et al., 2020 (102) | Japan | Hospital | Yes | NA | 1.1 CFU | 0.3 CFU | -72.7% | P<0.001* | Xenex® |  |
|  | Jinadatha et al., 2015 (100) | US | Tertiary care hospital | No | 393 colonies | NA | 100 colonies | -74.6% | P<0.01* | Xenex® |  |
|  | Jinadatha et al., 2014 (101) | US | Acute care hospital | Yes | 108 colonies1 | 11 colonies2 | 1 colony3 | 1-2: -89.8% 1-3: -99.1% 2-3: -90.9% | NA | Xenex® |  |
| VRE | Nerandzic et al., 2015 (69) | US | 2 acute care hospitals | Without cleaning | 4/112 sites (3.6%) 21 CFU | NA | 0/112 sites (0%) 0 CFU | -100% (4/4) -100% | P<0.01* P<0.01* | Xenex® |  |
|  | Nerandzic et al., 2015 (69) | US | 2 acute care hospitals | With cleaning (chlorine) | 4/113 sites (3.5%) 12 CFU | NA | 1/113 sites (0.9%) 1 CFU | -75% -91.7% | P<0.01* P<0.01* | Xenex® |  |
|  | Beal et al., 2016 (91) | UK | Clinical haematology unit of teaching hospital | Yes, with detergent | NA 35.5 CFU1 | 26/80 sites (32.5%) 4 CFU2 | 16/80 sites (20%) 2 CFU3 | -38% 1-2: -88.7% 1-3: -94.4% 2-3: -50% | P=0.072 NA | Xenex® |  |
|  | Stibich et al., 2011 (103) | US | Comprehensive cancer centre | Yes, with detergent | 17/75 sites (23.3%)1 33 CFU/cm2, 1 | 4/91 sites (8.2%)2 27.4 CFU/cm2, 2 | 0/75 sites (0%)3 1.2 CFU/cm2, 3 | 1-2: -80.6% 1-3: -100% (17/17) 2-3: -100% (4/4) 1-2: -17.0% 1-3: -96.4% 2-3: -95.6% | P<0.0001* for each step | Xenex® |  |
|  | Kitagawa et al., 2021 (104) | Japan | Hospital | Yes | 22/60 sites (37%) | 14/60 sites (23%) | 0/60 sites (0%) | 1-2: -36.4% 1-3: -100% (22/22) 2-3: -100% (14/14) | P<0.001* | Xenex® |  |
| C. difficile | Nerandzic et al., 2015 (69) | US | 2 acute care hospitals | Without cleaning | 22/113 sites (19%) | NA | 9/113 sites (8%) | -59% | P>0.05 | Xenex® |  |
|  | Nerandzic et al., 2015 (69) | US | 2 acute care hospitals | With cleaning (chlorine) | 13/112 sites (12%) | NA | 3/112 sites (3%) | -76.9% | P<0.01* | Xenex® |  |
|  | Kitagawa et al., 2021 (106) | Japan | Hospital | Yes | 22/71 sites (31%) 125 CFU | NA | 8/71 sites (11%) 24 CFU | -63.6% | P=0.002* P=0.001* | Xenex ® |  |
|  | Ghantoji et al., 2015 (105) | US | Comprehensive cancer centre | No | 22.97 CFU | NA | 1.19 CFU | -94.8% | P=0.0017* | Xenex® |  |
| Candida auris |  |  |  |  |  |  |  |  |  |  |  |

Statistically significant findings (p<0.05) are indicated with an asterisk (*)

Additional Table 8: the in situ efficacy of pulsed xenon ultraviolet (PX-UV) as expressed in clinical outcomes.

| Micro-organism | Study | Country | Care institution | Pre-cleaning | Incidence rate pre-intervention per 1000 PD | Incidence rate post-intervention per 1000 PD | Reduction | Statistical Significance | Machine | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Norovirus |  |  |  |  |  |  |  |  |  |  |
| Acinetobacter | Morikane et al., 2020 (89) | Japan | Tertiary referral hospital | Yes, with detergent | 4.85 | 1.81 | -63% | P<0.001* | Xenex® | Resistant Acinetobacter |
| CPE |  |  |  |  |  |  |  |  |  |  |
| ESBL |  |  |  |  |  |  |  |  |  |  |
| MRSA | Haas et al., 2014 (107) | US | Tertiary care academic centre | Yes | 0.45 | 0.33 | -26.7% | P=0.007* | Xenex® |  |
|  | Vianna et al., 2016 (92) | US | Community hospital | Yes | 0.34 | 0.41 | +20% | P=0.23 | Xenex ® |  |
|  | Morikane et al., 2020 (89) | Japan | Tertiary referral hospital | Yes | 1.38 | 0.99 | -29% | P=0.002* | Xenex® |  |
|  | Kitagawa et al., 2021 (95) | Japan | Hospital | Yes, with QAC | 3.56 | 2.21 | -37.9% | P=0.0497* | Xenex® |  |
| VRE | Brite et al., 2018 (90) | US | Transplantation unit tertiary care centre | Yes, | 3.0 | 3.7 | +18.9% | P=0.6 | Xenex® |  |
|  | Haas et al., 2014 (107) | US | Tertiary care academic centre | Yes | 0.9 | 0.73 | -18.9% | P=0.002* | Xenex® |  |
|  | Vianna et al., 2016 (92) | US | Community hospital | Yes, with detergent | 0.34 | 0.17 | -50% | P=0.07 | Xenex® |  |
|  | Sampathkuma et al., 2019 (93) | US | Tertiary care hospital | Yes, with detergent (bleach) | 2.6 | 1.23 | -52.7% | NA | Xenex® |  |
| C. difficile | Brite et al., 2018 (90) | US | Transplantation unit tertiary care centre | Yes, | 1.4 | 1.1 | -21% | P=0.7 | Xenex® |  |
|  | McMullen et al., 2021 (85) | US | 2 hospitals | Yes | 0.69 0.96 | 0.64 1.18 | -7.2% +18.6% | P=0.53 P=0.22 | Xenex® |  |
|  | Haas et al., 2014 (107) | US | Tertiary care academic centre | Yes | 0.79 | 0.65 | -17.2% | P=0.02* | Xenex® |  |
|  | Vianna et al., 2016 (92) | US | Community hospital | Yes, with detergent | 0.83 | 0.49 | -41% | P=0.01* | Xenex® |  |
|  | Sampathkuma et al., 2019 (93) | US | Tertiary care hospital | Yes, with detergent (bleach) | 2.1 | 1.1 | -47.6% | NA | Xenex® |  |
|  | Nagaraja et al., 2015 (94) | US | Tertiary care hospital | Yes | 1.06 | 0.83 | -22% | P=0.06 | Xenex® |  |
|  | Levin et al., 2013 (108) | US | Acute community care hospital | Yes | 0.95 | 0.45 | -53% | P<0.01* | Xenex® |  |
|  | Attia et al., 2020 (96) | US | Tertiary care academic hospital | Yes | 1.57 | 1.61 | +2.5% | NA | NA |  |
| Candida auris |  |  |  |  |  |  |  |  |  |  |

Statistically significant findings (p<0.05) are indicated with an asterisk (*)