Supplementary Information

Table S1. Intralaboratory reproducibility of HPV Selfy using two different Real Time PCR machines. HPV Selfy assay was performed twice on 397 samples using two different Real Time PCR instruments: Quant Studio 5, indicated by the manufacturer’s protocol, and Light Cycler. Overall concordance observed was 99.5% (kappa value of 0.97, almost perfect agreement).