## General Info
[9 empty] | compartment dimensions | [9 empty] | door | [7 empty] | window | [12 empty] | Flashover Correlations |  |  | Max heat flux |  | base time | Max (oC) |  |  |  |  | base time | Burning Regime Damage Cues |  | Burning Regime - Fire Dynamics cues |  | PG Cues - compared to known first fuels | [8 empty] | VG Cues | [5 empty] | ULG Cues |  |  |  | Accidental Causes Cues |  |  |  | Other Common Damage Cues Associated with Fire Patterns
Test | Fuel | Initial fuel | measured or est peak hrr of initial fuel (kW) | Distance of initial fuel from wall (cm) | hrr of initial fuels | tb of initial fuel | est flame height | total burn time (s) | Volume (ft3) | Area (ft2) | width (ft) | length (ft) | height (ft) | w (m) | l (m) | h (m) | A(T) | # Vent(s) | Av (ft2) | hv (ft) | wv(ft) | Av (m2) | hv (m) | wv(m) | vent factor | soffit depth (in) | Av (ft2) | hv (ft) | soffit depth (in) | Time of opening (s) | Adjacent volume | Wall materials | Celing material | Floor material | Flashover? | Time to flashover (s) | Full-room involvement? | Duration of burning after flashover (s) | Max comp HRR (kW) | MQH est HRR to Flashover (kW)* | Babrauskas est HRR to Flashover (kW)* | Thomas est HRR to Flashover (kW)* | Heat Flux at opening (kW/m2) | Heat flux at center of room | Duration (s) | Temperature at Ventilation 1 | Temperature at Ventilation 2 | Temperature at center of room (oC) | Heat flux at origin | Heat flux opposite doorway (30s avg heat flux * duration) | Duration (s) | 1-significant loss of mass to fuels throughout compartment | 2-damage low in elevation throughout compartment | 1-flashover predictions compared to HRR of fuels | cue 2-witness statements | 1-Fuel item w/in 1m | 2-loss of mass to fuel consistent with area of damage | 3-sharp/distinct lines of demarcation near initial fuel | 4-increased magnitude of damage near initial fuel | 5-elevation of lod is consistent with ht of initial fuel item | 6-direction of vectors point to fuel item | 7-width of the base of damage is ~wf and not greater than 2xwf | 8-angled lines of demarcation from fuel | 9-conical shape | 1-increased magnitude of damage around opening w/in 2wo | 2-increased damage opposite door opening ~2wo | 3-increased damage within airflow (contours) | 4-vectors point back to direction of airflow from opening | 5-angled lod's from opening or from location directly opposite opening | 6-increased damage under window | 1-damage high in elevation | 2-uniform magnitude of damage (contours) | 3-level lines of demarcation (contours) *except in corners | 4-lines of demarcation moving out of vent openings | 1-damage around drywall seams | 2-damage around screws to hold drywall | 3-less damage in areas where wall patches were used |  | greatest damage to ceiling at origin | loss of mass to contents are greatest at area of origin? | greatest magnitude of damage located at origin? | Greatest area of damage located at origin | Area of identifiable damage at area of origin | Greatest area of damage located at ventilation | Greatest magnitude of damage at ventilation | Area of identifiable damage at vent opening | Greatest area of damage located along airflow from ventilation? | Greatest magnitude of damage along ventilation airflow | Area of identifiable damage along airflow path | Greatest area of damage across from ventilation opening | Greatest magnitude of damage across from ventilation | Area of identifiable damage across from ventilation | greatest area of damage to ceiling across from ventilation | area of damage caused by drop down | area of damage associated with secondary or teritiary fuel burning | Lowest burning at origin | direction of structural collapse
Custer 1 | furniture | sofa-full open window | 2000 | 0 |  |  |  | 600 | 1800 | 225 | 15 | 15 | 8 | 4.5718 | 4.5718 | 2.4383 | 84.7273 | 2 | 18 | 6 | 3 | 1.6641 | 1.8287 | 0.91 | 2.2504 |  | 9 | 3 |  | 300 | exterior | wood | wood | wood | 1 | 240 | 1 | 360 | 3375.5938 | 1279.395 | 1687.7969 | 1511.5223 |  |  |  |  | 760 |  |  |  |  | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0
Custer 2 | furniture | sofa-full open window | 2000 | 0 |  |  |  | 600 | 1800 | 225 | 15 | 15 | 8 | 4.5718 | 4.5718 | 2.4383 | 84.7273 | 2 | 18 | 6 | 3 | 1.6641 | 1.8287 | 0.91 | 2.2504 |  | 9 | 3 |  | 300 | exterior | wood | wood | wood | 1 | 240 | 1 | 360 | 3375.5938 | 1279.395 | 1687.7969 | 1511.5223 |  |  |  |  | 927 |  |  |  |  | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0
USFA 1 | Wood crib: 40 kg | wood crib | 1800 | 0 | 1000 | 800 | 3.4008 | 1200 | 1152 | 144 | 12 | 12 | 8 | 3.6574 | 3.6574 | 2.4383 | 60.7723 | 2 | 17.7889 | 6.67 | 2.667 | 1.6525 | 2.0329 | 0.81286 | 2.3561 | 16 | 10.5 | 3.5 | 16 | ? | large warehouse | gypsum wallboard | gypsum wallboard | noncombustible board | 1 | 480 | 1 | 720 | 3534.1701 | 960.7805 | 1767.0851 | 1364.6346 | 30 | 40 | 780 | - | - | 750 | 46800 | - | 780 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | - | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | - | - | - | - | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
USFA 2 | furniture | PU foam chair with wood support | 1500 | 45 |  |  |  | 480 | 1152 | 144 | 12 | 12 | 8 | 3.6574 | 3.6574 | 2.4383 | 60.7723 | 2 | 17.7889 | 6.67 | 2.667 | 1.6525 | 2.0329 | 0.81286 | 2.3561 | 16 | 10.5 | 3.5 | 16 | 330 | large warehouse | gypsum wallboard | gypsum wallboard | plywood with carpeting and pad | 1 | 300 | 1 | 180 | 3534.1701 | 960.7805 | 1767.0851 | 1364.6346 | - | - | - | - | - | - | - | - | - | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | - | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | - |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | - | - | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
USFA 3 | Gasoline Pool: 0.33 gal | gasoline pour on floor in front of chair | 800 | 0 | 800 | 80 | 2.9307 | 840 | 1152 | 144 | 12 | 12 | 8 | 3.6574 | 3.6574 | 2.4383 | 60.7723 | 2 | 17.7889 | 6.67 | 2.667 | 1.6525 | 2.0329 | 0.81286 | 2.3561 | 16 | 10.5 | 3.5 | 16 | No | large warehouse | gypsum wallboard | gypsum wallboard | noncombustible board | 0 | - | 0 | - | 3534.1701 | 960.7805 | 1767.0851 | 1364.6346 | 5 | 17 | 110 | - | - | 700 | 6600 | - | 35 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | - | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
USFA 4 | furniture | 0.33 gal of gasoline spilled on left side of chair and in front left corner of chair and 0.13 gal of gasoline spilled as trailer to doorway | 4000 | 0 |  |  |  | 620 | 1152 | 144 | 12 | 12 | 8 | 3.6574 | 3.6574 | 2.4383 | 60.7723 | 2 | 17.7889 | 6.67 | 2.667 | 1.6525 | 2.0329 | 0.81286 | 2.3561 | 16 | 10.5 | 3.5 | 16 | 60 | large warehouse | gypsum wallboard | gypsum wallboard | plywood with carpeting and pad | 1 | 120 | 1 | 500 | 3534.1701 | 960.7805 | 1767.0851 | 1364.6346 | 125 | 250 | 585 | 1050 | 1100 | 1050 | 12500 | - | 585 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | - | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | - |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | - | - | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
USFA 5 | furniture | PU foam chair with wood support | 1500 | 0 |  |  |  | 420 | 1073.364 | 134.1705 | 11.667 | 11.5 | 8 | 3.5559 | 3.505 | 2.4383 | 57.708 | 2 | 17.7889 | 6.67 | 2.667 | 1.6525 | 2.0329 | 0.81286 | 2.3561 | 16 | 10.5 | 3.5 | 16 | 300 | acquired structure | gypsum wallboard | gypsum wallboard | plywood with carpeting and pad | 1 | 260 | 1 | 160 | 3534.1701 | 912.3355 | 1767.0851 | 1340.7331 | - | 120 | 50 | 750 | - | 750 | - | - | 200 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
USFA 6 | Gasoline Pool: 0.33 gal | gasoline pour on floor in front of chair | 4000 | 76 |  |  |  | 420 | 986.034 | 123.2542 | 9.667 | 12.75 | 8 | 2.9464 | 3.886 | 2.4383 | 54.6686 | 2 | 16.675 | 6.67 | 2.5 | 1.549 | 2.0329 | 0.76196 | 2.2086 | 16 | 10.5 | 3.5 | 16 | No | acquired structure | gypsum wallboard | gypsum wallboard | plywood with carpeting and pad | 0 | - | 0 | - | 3312.8704 | 810.1655 | 1656.4352 | 1261.2585 | - | 10 | 240 | 800 |  | 500 | - | - | 140 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
USFA 7 | furniture | PU foam chair with wood support | 1500 | 0 |  |  |  | 420 | 940 | 117.5 | 10 | 11.75 | 8 | 3.0479 | 3.5812 | 2.4383 | 52.6082 | 2 | 16.675 | 6.67 | 2.5 | 1.549 | 2.0329 | 0.76196 | 2.2086 | 16 | 10.5 | 3.5 | 16 | 360 | acquired structure | gypsum wallboard | gypsum wallboard | plywood with tile | 1 | 280 | 1 | 140 | 3312.8704 | 779.6308 | 1656.4352 | 1245.1871 | - | 40 | 100 | 1000 | 800 | 800 | - | - | 100 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
USFA 8 | Gasoline Pool: 0.5 gal | gasoline pour on floor in front of chair w/ gasoline container with additional gasoline present in center of pour | 4000 | 76 |  |  |  | 420 | 940 | 117.5 | 10 | 11.75 | 8 | 3.0479 | 3.5812 | 2.4383 | 52.6082 | 2 | 16.675 | 6.67 | 2.5 | 1.549 | 2.0329 | 0.76196 | 2.2086 | 16 | 10.5 | 3.5 | 16 | 60 | acquired structure | gypsum wallboard | gypsum wallboard | plywood with tile | 1 | 60 | 1 | 360 | 3312.8704 | 779.6308 | 1656.4352 | 1245.1871 | - | 30 | 120 | 600 | 600 | 600 | - | - | 240 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | - | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0
USFA 9 | furniture | PU foam chair with wood support | 1500 | 0 |  |  |  | 420 | 967.968 | 120.996 | 12 | 10.083 | 8 | 3.6574 | 3.0731 | 2.4383 | 53.8043 | 2 | 16.1187 | 6.67 | 2.4166 | 1.4973 | 2.0329 | 0.73654 | 2.1349 | 16 | 10.5 | 3.5 | 16 | 270 | acquired structure | gypsum wallboard | gypsum wallboard | hardwood | 1 | 225 | 1 | 195 | 3202.353 | 770.7571 | 1601.1765 | 1226.6666 | - | 120 | 100 | 600 | 700 | 700 | - | - | 120 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
USFA 10 | Gasoline Pool: 0.33 gal | 0.33 gal of gasoline spilled on left side of chair and in front left corner of chair and 0.13 gal of gasoline spilled as trailer to doorway | 4000 | 0 |  |  |  | 420 | 1001.5726 | 125.1966 | 12.4166 | 10.083 | 8 | 3.7844 | 3.0731 | 2.4383 | 55.2037 | 2 | 16.1214 | 6.67 | 2.417 | 1.4976 | 2.0329 | 0.73667 | 2.1353 | 16 | 10.5 | 3.5 | 16 | 168 | acquired structure | gypsum wallboard | gypsum wallboard | hardwood | 0 | - | 0 | - | 3202.8831 | 790.9341 | 1601.4415 | 1237.7152 | - | 40 | 40 | 600 | 600 | 700 | - | - | 120 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Oullette 1 | furniture | wastebasket next to wingback chair (50kW est / 1200 kW est-Babrauskas) | 1250 | 0 |  |  |  | 209 | 1330.5937 | 166.207 | 13.9475 | 11.9166 | 8.0056 | 4.251 | 3.632 | 2.44 | 67.4895 | 1 | 20.01 | 6.67 | 3 | 1.8588 | 2.0329 | 0.91436 | 2.6503 | 16 | - | - | - | - | large warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 202 | 1 | 7 | 3975.4444 | 1200.1986 | 1987.7222 | 1528.2301 | [6 empty] | 9000 | 4020 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | - | 1 | 1 | 1 | 1 | 1 | 0 | 0 |  | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Oullette 2 | furniture | wastebasket next to wingback chair | 1250 | 0 |  |  |  | 420 | 1330.5937 | 166.207 | 13.9475 | 11.9166 | 8.0056 | 4.251 | 3.632 | 2.44 | 67.4895 | 1 | 20.01 | 6.67 | 3 | 1.8588 | 2.0329 | 0.91436 | 2.6503 | 16 | - | - | - | - | large warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 295 | 1 | 125 | 3975.4444 | 1200.1986 | 1987.7222 | 1528.2301 | [6 empty] | 20160 | 10800 |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | - | 0 | 0 | 0 | 1 | 1 | 0 | 0 |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
Oullette 3 | furniture | wastebasket next to wingback chair | 1250 | 0 |  |  |  | 360 | 1330.5937 | 166.207 | 13.9475 | 11.9166 | 8.0056 | 4.251 | 3.632 | 2.44 | 67.4895 | 1 | 20.01 | 6.67 | 3 | 1.8588 | 2.0329 | 0.91436 | 2.6503 | 16 | - | - | - | - | large warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 245 | 1 | 115 | 3975.4444 | 1200.1986 | 1987.7222 | 1528.2301 | [6 empty] | 18000 | 16350 |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | - | 0 | 0 | 0 | 1 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
Claflin 1 | furniture | two pillows next to PU sofa | 3000 | 0 |  |  |  | 540 | 1061.7892 | 134.1142 | 11.746 | 11.4179 | 7.9171 | 3.58 | 3.48 | 2.413 | 57.3885 | 2 | 17.2306 | 6.67 | 2.5833 | 1.5999 | 2.032 | 0.78735 | 2.2806 | 15 | 12 | 2.667 | 15 | 0 | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 420 | 1 | 120 | 3420.9398 | 878.2159 | 1710.4699 | 1309.7068 | [6 empty] | 21450 | 17700 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | - | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 |  | - | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | - | 0 | 0 | 0 | 1
Claflin 2 | furniture | two pillows next to PU sofa | 3000 | 0 |  |  |  | 540 | 1061.7892 | 134.1142 | 11.746 | 11.4179 | 7.9171 | 3.58 | 3.48 | 2.413 | 57.3885 | 2 | 17.2306 | 6.67 | 2.5833 | 1.5999 | 2.032 | 0.78735 | 2.2806 | 15 | 12 | 2.667 | 15 | 420 | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 420 | 1 | 120 | 3420.9398 | 878.2159 | 1710.4699 | 1309.7068 | [6 empty] | 24750 | 28050 |  | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | - | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 |  | - | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | - | 0 | 0 | 0 | 1
Claflin 3 | furniture | two pillows next to PU sofa | 3000 | 0 |  |  |  | 685 | 1061.7892 | 134.1142 | 11.746 | 11.4179 | 7.9171 | 3.58 | 3.48 | 2.413 | 57.3885 | 2 | 17.2306 | 6.67 | 2.5833 | 1.5999 | 2.032 | 0.78735 | 2.2806 | 15 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 565 | 1 | 120 | 3420.9398 | 878.2159 | 1710.4699 | 1309.7068 | [6 empty] | 19650 | 20100 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | - | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 |  | - | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0
Hoffman 1 | furniture | entertainment center | 400 | 0 | 350 | 1200 | 1.6889 | 1200 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | - | - | - | - | - |  | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 1 | 0
Hoffman 2 | furniture | entertainment center | 400 | 0 | 350 | 400 | 1.6889 | 400 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | - | - | - | - | - |  | - | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 1 | 0 | 0 | 0
Hoffman 3 | furniture | entertainment center | 400 | 0 | 350 | 750 | 1.6889 | 750 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | - | - | - | - | - |  | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 1 | 0
Hoffman 4 | furniture | entertainment center | 400 | 0 | 350 | 1200 | 1.6889 | 1200 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | - | - | - | - | - |  | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 1 | 0
Hoffman 5 | furniture | entertainment center | 400 | 0 | 350 | 1200 | 1.6889 | 1200 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | - | - | - | - | - |  | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 1 | 0
Hoffman 6 | furniture | entertainment center | 400 | 0 | 350 | 1200 | 1.6889 | 1200 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | - | - | - | - | - |  | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 1 | 0
Hoffman 7 | furniture | entertainment center | 400 | 0 | 350 | 1200 | 1.6889 | 1200 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | - | - | - | - | - |  | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 1 | 0
Hoffman 8 | furniture | entertainment center | 400 | 0 | 350 | 1200 | 1.6889 | 1200 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | - | 1 | 1 | - | - | - | - | - |  | - | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 1 | 0
Hoffman 9 | furniture | entertainment center | 1000 | 0 | 1100 | 420 | 3.6239 | 840 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 420 | 1 | 420 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | - | 1 | - | 0 | 0 | - | - | - | - | - |  | - | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | - | 0 | 1 | 0 | 0
Hoffman 10 | furniture | entertainment center | 1000 | 0 | 1100 | 420 | 3.6239 | 840 | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.4383 | 46.0417 | 1 | 16.3627 | 6.562 | 2.4936 | 1.52 | 2 | 0.76 | 2.1496 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 420 | 1 | 420 | 3224.4069 | 664.0986 | 1612.2035 | 1171.6759 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | - | 1 | - | 0 | 0 | - | - | - | - | - |  | - | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | - | 0 | 1 | 0 | 0
Cox 1 | furniture | wastebasket next to bed | 1300 |  |  |  |  | 425 | 1536 | 192 | 16 | 12 | 8 | 4.8766 | 3.6574 | 2.44 | 75.6525 | 1 | 17.9194 | 6.6604 | 2.6904 | 1.6646 | 2.03 | 0.82 | 2.3717 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 225 | 1 | 200 | 3557.5349 | 1203.9373 | 1778.7674 | 1486.5885 | [5 empty] | 600 |  |  | 200 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | - | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Cox 2 | furniture | end table | 1300 |  |  |  |  | 350 | 1536 | 192 | 16 | 12 | 8 | 4.8766 | 3.6574 | 2.44 | 75.6525 | 1 | 17.9194 | 6.6604 | 2.6904 | 1.6646 | 2.03 | 0.82 | 2.3717 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 180 | 1 | 170 | 3557.5349 | 1203.9373 | 1778.7674 | 1486.5885 | [5 empty] | 600 |  |  | 125 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | - | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
Cox 3 | furniture | wastebasket next to wingback chair | 1300 |  |  |  |  | 450 | 1536 | 192 | 16 | 12 | 8 | 4.8766 | 3.6574 | 2.44 | 75.6525 | 1 | 17.9194 | 6.6604 | 2.6904 | 1.6646 | 2.03 | 0.82 | 2.3717 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 1 | 200 | 1 | 250 | 3557.5349 | 1203.9373 | 1778.7674 | 1486.5885 | [5 empty] | 600 |  |  | 250 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | - | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
Cox 4 | furniture |  | 1000 | [5 empty] | 768 | 96 | 12 | 8 | 8 | 3.6574 | 2.4383 | 2.44 | 45.9181 | 1 | 17.9194 | 6.6604 | 2.6904 | 1.6646 | 2.03 | 0.82 | 2.3717 | 16 | - | - | - | - | exterior | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3557.5349 | 730.742 | 1778.7674 | 1254.6597 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | [14 empty] | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0
Gottuk 1 | furniture | sofa-smoldering / no vent | 353 | 0 | 250 | 600 | 1.3495 | 12300 | 1282.6229 | 160.2149 | 10.8273 | 14.7973 | 8.0056 | 3.3 | 4.51 | 2.44 | 67.8788 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 529.4546 | [9 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Gottuk 2 | furniture | sofa-full open window | 862 | 0 | 800 | 180 | 2.9307 | 960 | 1282.6229 | 160.2149 | 10.8273 | 14.7973 | 8.0056 | 3.3 | 4.51 | 2.44 | 67.641 | 1 | 2.5599 | 1.903 | 1.3452 | 0.2378 | 0.58 | 0.41 | 0.1811 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 271.6546 | 82.1975 | 135.8273 | 596.0568 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Gottuk 3 | furniture | sofa-half open window | 1032 | 0 | 600 | 300 | 2.4192 | 7500 | 1282.6229 | 160.2149 | 10.8273 | 14.7973 | 8.0056 | 3.3 | 4.51 | 2.44 | 67.7628 | 1 | 1.2487 | 1.903 | 0.6562 | 0.116 | 0.58 | 0.2 | 0.088343 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 132.5145 | 40.1685 | 66.2572 | 561.9435 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Gottuk 4 | furniture + accelerant | sofa-half open window + 1 L gasoline | 1000 | 0 | 300 | 240 | 1.524 | 3600 | 1282.6229 | 160.2149 | 10.8273 | 14.7973 | 8.0056 | 3.3 | 4.51 | 2.44 | 67.7628 | 1 | 1.2487 | 1.903 | 0.6562 | 0.116 | 0.58 | 0.2 | 0.088343 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 132.5145 | 40.1685 | 66.2572 | 561.9435 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Gottuk 5 | cabinet | low cabinet test-no vent | 599 | 0 | 300 | 720 | 1.524 | 14400 | 496.3991 | 62.0062 | 7.8744 | 7.8744 | 8.0056 | 2.4 | 2.4 | 2.44 | 34.944 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 272.5632 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Gottuk 6 | cabinet | low cabinet test-full open window | 595 | 0 | 300 | 480 | 1.524 | 9000 | 496.3991 | 62.0062 | 7.8744 | 7.8744 | 8.0056 | 2.4 | 2.4 | 2.44 | 34.7062 | 1 | 2.5599 | 1.903 | 1.3452 | 0.2378 | 0.58 | 0.41 | 0.1811 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 271.6546 | 42.175 | 135.8273 | 339.1653 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Gottuk 7 | cabinet | low cabinet test-door open | 984 | 0 | 600 | 720 | 2.4192 | 2028 | 496.3991 | 62.0062 | 7.8744 | 7.8744 | 8.0056 | 2.4 | 2.4 | 2.44 | 33.0967 | 1 | 19.8861 | 6.6604 | 2.9857 | 1.8473 | 2.03 | 0.91 | 2.632 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3947.996 | 584.511 | 1973.998 | 1253.0493 | [8 empty] | near flashover | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Gottuk 8 | cabinet | high cabinet test-no vent | 662 | 0 | 400 | 600 | 1.8462 | 15600 | 496.3991 | 62.0062 | 7.8744 | 7.8744 | 8.0056 | 2.4 | 2.4 | 2.44 | 34.944 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 272.5632 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Gottuk 9 | cabinet | high cabinet test-half open window | 657 | 0 | 200 | 600 | 1.163 | 14520 | 496.3991 | 62.0062 | 7.8744 | 7.8744 | 8.0056 | 2.4 | 2.4 | 2.44 | 34.828 | 1 | 1.2487 | 1.903 | 0.6562 | 0.116 | 0.58 | 0.2 | 0.088343 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 132.5145 | 20.6454 | 66.2572 | 305.052 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
Gottuk 10 | cabinet | high cabinet test-no vent | 469 | 0 | 300 | 600 | 1.524 | 2124 | 496.3991 | 62.0062 | 7.8744 | 7.8744 | 8.0056 | 2.4 | 2.4 | 2.44 | 34.944 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 272.5632 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | - |  | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
Gottuk 11 | cabinet | high cabinet test-door open | 1071 | 0 | 800 | 720 | 2.9307 | 2196 | 496.3991 | 62.0062 | 7.8744 | 7.8744 | 8.0056 | 2.4 | 2.4 | 2.44 | 33.0967 | 1 | 19.8861 | 6.6604 | 2.9857 | 1.8473 | 2.03 | 0.91 | 2.632 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet and padding | 0 | 0 | 0 | 0 | 3947.996 | 584.511 | 1973.998 | 1253.0493 | [8 empty] | near flashover | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
Mealy 1 | furniture | sofa-full door | 6100 | 0 | 2250 | 108 | 5.8395 | 755 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 61.1 | 1 | 19.3769 | 6.562 | 2.9529 | 1.8 | 2 | 0.9 | 2.5456 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet | 1 | 346 | 1 | 409 | 3818.3766 | 1043.6412 | 1909.1883 | 1438.8109 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | - |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Mealy 2 | furniture + accelerant | fuel spill on floor-full door | 6300 | 2 | 1250 | 137 | 3.9463 | 260 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 61.1 | 1 | 19.3769 | 6.562 | 2.9529 | 1.8 | 2 | 0.9 | 2.5456 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet | 1 | 123 | 1 | 137 | 3818.3766 | 1043.6412 | 1909.1883 | 1438.8109 | [9 empty] | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1
Mealy 3 | furniture + accelerant | fuel spill on floor-slit vent | 900 | 2 | 750 | 420 | 2.8073 | 480 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 62.5 | 1 | 4.306 | 6.562 | 0.6562 | 0.4 | 2 | 0.2 | 0.56569 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet | 0 | 0 | 0 | 0 | 848.5281 | 237.2343 | 424.2641 | 701.3291 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
Mealy 4 | furniture + accelerant | fuel spill on chair-full door | 7200 | 2 | 1700 | 110 | 4.8442 | 264 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 61.1 | 1 | 19.3769 | 6.562 | 2.9529 | 1.8 | 2 | 0.9 | 2.5456 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet | 1 | 114 | 1 | 150 | 3818.3766 | 1043.6412 | 1909.1883 | 1438.8109 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1
Mealy 5 | furniture + accelerant | fuel spill on chair-slit vent | 1800 | 2 | 750 | 370 | 2.8073 | 713 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 62.5 | 1 | 4.306 | 6.562 | 0.6562 | 0.4 | 2 | 0.2 | 0.56569 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | carpet | 1 | 464 | 1 | 249 | 848.5281 | 237.2343 | 424.2641 | 701.3291 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0
Mealy 6 | furniture + accelerant | fuel spill in center of room-full door | 5000 | 2 | 1500 | 50 | 4.4563 | 186 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 61.1 | 2 | 19.3769 | 6.562 | 2.9529 | 1.8 | 2 | 0.9 | 2.5456 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | vinyl | 1 | 50 | 1 | 136 | 3818.3766 | 1043.6412 | 1909.1883 | 1438.8109 | [9 empty] | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0
Mealy 7 | furniture + accelerant | fuel spill in center of room-slit opening | 1100 | 2 | 350 | 180 | 1.6889 | 480 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 62.5 | 3 | 4.306 | 6.562 | 0.6562 | 0.4 | 2 | 0.2 | 0.56569 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | vinyl | 1 | 200 | 1 | 280 | 848.5281 | 237.2343 | 424.2641 | 701.3291 | [9 empty] | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0
Mealy 8 | furniture + accelerant | fuel spill on chair-full door | 3700 | 2 | 1025 | 90 | 3.4572 | 190 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 61.1 | 1 | 19.3769 | 6.562 | 2.9529 | 1.8 | 2 | 0.9 | 2.5456 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | vinyl | 1 | 120 | 1 | 70 | 3818.3766 | 1043.6412 | 1909.1883 | 1438.8109 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0
Mealy 9 | furniture + accelerant | fuel spill on chair-slit vent | 900 | 2 | 800 | 270 | 2.9307 | 566 | 1160.4686 | 147.3723 | 12.1397 | 12.1397 | 7.8744 | 3.7 | 3.7 | 2.4 | 62.5 | 1 | 4.306 | 6.562 | 0.6562 | 0.4 | 2 | 0.2 | 0.56569 | 16 | - | - | - | - | warehouse | gypsum wallboard | gypsum wallboard | vinyl | 1 | 362 | 1 | 204 | 848.5281 | 237.2343 | 424.2641 | 701.3291 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0
Gorbett 1 | furniture | center of mattress | 1200 | 0 |  |  |  | 690 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 330 | 1 | 360 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Gorbett 2 | furniture | center of mattress | 1200 | 0 |  |  |  | 390 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 190 | 1 | 200 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
Gorbett 3 | furniture | center of sofa | 3000 | 0 |  |  |  | 360 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 86.193 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | - | - | - | - | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 236 | 1 | 124 | 0 | 0 | 0 | 672.3054 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gorbett 4 | furniture | center of sofa | 3000 | 0 |  |  |  | 332 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 86.193 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | - | - | - | - | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 212 | 1 | 120 | 0 | 0 | 0 | 672.3054 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gorbett 5 | furniture | center of mattress | 1200 | 0 |  |  |  | 1396 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 1080 | 1 | 316 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gorbett 6 | furniture | center of mattress | 1200 | 0 |  |  |  | 1005 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 790 | 1 | 215 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gorbett 7 | furniture | center of sofa | 3000 | 0 |  |  |  | 836 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 640 | 1 | 196 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gorbett 8 | furniture | center of sofa | 3000 | 0 |  |  |  | 704 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 488 | 1 | 216 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gorbett 9 | wood crib and furniture | wood crib under nightstand | 1280 | 1 | 300 | 266 | 1.524 | 968 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 702 | 1 | 266 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Gorbett 10 | wood crib and furniture | wood crib under nightstand | 1280 | 1 | 300 | 53 | 1.524 | 349 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 296 | 1 | 53 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Gorbett 11 | wood crib and furniture | wood crib under end table | 3080 | 1 | 300 | 83 | 1.524 | 1261 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.633 | 2 | 6.0284 | 6.562 | 0.91868 | 0.56 | 2 | 0.28 | 0.79196 | 16 | 3.2725 | 2.492 | 16 | 1021 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 1178 | 1 | 83 | 1187.9394 | 455.0579 | 593.9697 | 967.2981 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Gorbett 12 | wood crib and furniture | wood crib under end table | 3080 | 1 | 300 | 112 | 1.524 | 1129 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.633 | 2 | 6.0284 | 6.562 | 0.91868 | 0.56 | 2 | 0.28 | 0.79196 | 16 | 3.2725 | 2.492 | 16 | 959 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 1017 | 1 | 112 | 1187.9394 | 455.0579 | 593.9697 | 967.2981 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Gorbett 13 | wood crib and furniture | wood crib at foot of bed | 1280 | 4 | 300 | 257 | 1.524 | 1047 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 790 | 1 | 257 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1
Gorbett 14 | wood crib and furniture | wood crib at foot of bed | 1280 | 4 | 300 | 130 | 1.524 | 690 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.889 | 1 | 3.2725 | 2.4936 | 1.3124 | 0.304 | 0.76 | 0.4 | 0.26502 | 16 | - | - | - | 0 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 560 | 1 | 130 | 397.5316 | 152.7357 | 198.7658 | 770.1122 | [9 empty] | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Gorbett 15 | wood crib and furniture | wood crib at foot of sofa | 3080 | 3 | 300 | 110 | 1.524 | 638 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.633 | 2 | 6.0284 | 6.562 | 0.91868 | 0.56 | 2 | 0.28 | 0.79196 | 16 | 3.272 | 2.494 | 16 | 403 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 528 | 1 | 110 | 1187.9394 | 455.0579 | 593.9697 | 967.2981 | [9 empty] | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gorbett 16 | wood crib and furniture | wood crib at foot of sofa | 3080 | 3 | 300 | 74 | 1.524 | 1504 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.633 | 2 | 6.0284 | 6.562 | 0.91868 | 0.56 | 2 | 0.28 | 0.79196 | 16 | 3.272 | 2.494 | 16 | 1308 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 1430 | 1 | 74 | 1187.9394 | 455.0579 | 593.9697 | 967.2981 | [9 empty] | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | - |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
Gorbett 17 | wood crib and furniture | wood crib under nightstand | 1280 | 1 | 300 | 295 | 1.524 | 943 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 86.193 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 3.272 | 2.494 | 16 | 603 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 648 | 1 | 295 | 0 | 0 | 0 | 672.3054 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | - |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1
Gorbett 18 | wood crib and furniture | wood crib under nightstand | 1280 | 1 | 300 | 278 | 1.524 | 915 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 86.193 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 3.272 | 2.494 | 16 | 579 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 637 | 1 | 278 | 0 | 0 | 0 | 672.3054 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | - |  | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1
Gorbett 19 | sofa | center of sofa | 3000 | 0 |  |  |  | 351 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.633 | 2 | 6.0284 | 6.562 | 0.91868 | 0.56 | 2 | 0.28 | 0.79196 | 16 | 3.272 | 2.494 | 16 | 250 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 310 | 1 | 41 | 1187.9394 | 455.0579 | 593.9697 | 967.2981 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Gorbett 20 | heptane pool fire next to sofa | pool fire under end table | 3000 | 1 |  |  |  | 801 | 1792.1128 | 223.8563 | 14.0099 | 15.9785 | 8.0056 | 4.27 | 4.87 | 2.44 | 85.633 | 2 | 6.0284 | 6.562 | 0.91868 | 0.56 | 2 | 0.28 | 0.79196 | 16 | 3.272 | 2.494 | 16 | 296 | Adjacent volume | gypsum wallboard | gypsum wallboard | carpet | 1 | 720 | 1 | 81 | 1187.9394 | 455.0579 | 593.9697 | 967.2981 | [9 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | - |  | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Hicks 1 | polyurethane chair | polyurethane chair | 1200 | 0 |  |  |  |  | 523.5977 | 64.0903 | 8.0056 | 8.0056 | 8.1697 | 2.44 | 2.44 | 2.49 | 31.3784 | 1 | 52.0077 | 6.4964 | 8.0056 | 4.8312 | 1.98 | 2.44 | 6.7981 | 18 | - | - | - | - | adjancent volume | gypsum wallboard | gypsum wallboard | carpet | 0 | - | 0 |  | 10197.1515 | 1431.3338 | 5098.5757 | 2814.4337 | [8 empty] | TOTAL | 45 | 45 | 60 | 44 | 63 | 61 | 49 | 58 | 57 | 60 | 57 | 56 | 36 | 25 | 33 | 37 | 38 | 29 | 5 | 27 | 32 | 18 | 56 | 53 | 28 | 5 | 0 | 30 | 61 | 42 | 39 | 67 | 6 | 7 | 29 | 5 | 4 | 42 | 14 | 13 | 34 | 11 | 4 | 14 | 22 | 15