## suppl. table 1
Supplementary table 1: List of definitions
| Reference | Definition
Classification of devices | Regulation 2017/746 Chapter V Section 1 Article 47 | Devices shall be divided into classes A, B, C and D, taking into account the intended purpose of the devices and their inherent risks. Classification shall be carried out in accordance with Annex VIII (of the Regulation 2017/746).
| Regulation 2017/746 Annexe VIII Implementing rules | Application of the classification rules shall be governed by the intended purpose of the devices. If the device in question is intended to be used in combination with another device, the classification rules shall apply separately to each of the devices. If several classification rules apply to the same device, the rule resulting in the higher classification shall apply.
| https://ec.europa.eu/commission/presscorner/detail/it/qanda_21_5210 | Introduction of a risk-based classification system with 4 risk classes of in vitro diagnostic medical devices: class A (low individual risk and low public health risk), class B (moderate individual risk and/or low public health risk), class C (high individual risk and/or moderate public health risk) and class D (high individual risk and high public health risk)
Class D devices | Regulation 2017/746 Annexe VIII Rule 1 | Devices intended to be used for the following purposes are classified as class D: - detection of the presence of, or exposure to, a transmissible agent in blood, blood components, cells, tissues or organs, or in any of their derivatives, in order to assess their suitability for transfusion, transplantation or cell administration; -detection of the presence of, or exposure to, a transmissible agent that causes a life-threatening disease with a high or suspected high risk of propagation; -determining the infectious load of a life-threatening disease where monitoring is critical in the process of patient management.
Class D or Class C devices | Regulation 2017/746 Annexe VIII Rule 2 | Devices intended to be used for blood grouping, or tissue typing to ensure the immunological compatibility of blood, blood components, cells, tissue or organs that are intended for transfusion or transplantation or cell administration, are classified as class C, except when intended to determine any of the following markers: -ABO system [A (ABO1), B (ABO2), AB (ABO3)]; -Rhesus system [RH1 (D), RHW1, RH2 (C), RH3 (E), RH4 (c), RH5 (e)]; -Kell system [Kel1 (K)]; -Kidd system [JK1 (Jka), JK2 (Jkb)]; -Duffy system [FY1 (Fya), FY2 (Fyb)]; in which case they are classified as class D.
Class C devices | Regulation 2017/746 Annexe VIII Rule 3 | Devices are classified as class C if they are intended: (a) for detecting the presence of, or exposure to, a sexually transmitted agent; (b) for detecting the presence in cerebrospinal fluid or blood of an infectious agent without a high or suspected high risk of propagation; (c) for detecting the presence of an infectious agent, if there is a significant risk that an erroneous result would cause death or severe disability to the individual, foetus or embryo being tested, or to the individual's offspring; (d) for pre-natal screening of women in order to determine their immune status towards transmissible agents; (e) for determining infective disease status or immune status, where there is a risk that an erroneous result would lead to a patient management decision resulting in a life-threatening situation for the patient or for the patient's offspring; (f) to be used as companion diagnostics; (g) to be used for disease staging, where there is a risk that an erroneous result would lead to a patient management decision resulting in a life-threatening situation for the patient or for the patient's offspring; (h) to be used in screening, diagnosis, or staging of cancer; (i) for human genetic testing; (j) for monitoring of levels of medicinal products, substances or biological components, when there is a risk that an erroneous result will lead to a patient management decision resulting in a life-threatening situation for the patient or for the patient's offspring; (k) for management of patients suffering from a life-threatening disease or condition; (l) for screening for congenital disorders in the embryo or foetus; (m) for screening for congenital disorders in new-born babies where failure to detect and treat such disorders could lead to life-threatening situations or severe disabilities.
| Regulation 2017/746 Annexe VIII Rule 4 | (a) Devices intended for self-testing are classified as class C, except for devices for the detection of pregnancy, for fertility testing and for determining cholesterol level, and devices for the detection of glucose, erythrocytes, leucocytes and bacteria in urine, which are classified as class B. (b) Devices intended for near-patient testing are classified in their own right.
Class A devices | Regulation 2017/746 Annexe VIII Rule 5 | The following devices are classified as class A: (a) products for general laboratory use, accessories which possess no critical characteristics, buffer solutions, washing solutions, and general culture media and histological stains, intended by the manufacturer to make them suitable for in vitro diagnostic procedures relating to a specific examination; (b) instruments intended by the manufacturer specifically to be used for in vitro diagnostic procedures; (c) specimen receptacles.
Class B devices | Regulation 2017/746 Annexe VIII Rule 6 | Devices not covered by the above-mentioned classification rules are classified as class B.
| Regulation 2017/746 Annexe VIII Rule 7 | Devices which are controls without a quantitative or qualitative assigned value are classified as class B.
Notified body | Regulation 2017/746 | ‘notified body’ means a conformity assessment body designated in accordance with this Regulation (Regulation 2017/746).
| https://single-market-economy.ec.europa.eu/single-market/goods/building-blocks/notified-bodies_en | A notified body is an organisation designated by an EU country to assess the conformity of certain products before being placed on the market. These bodies carry out tasks related to conformity assessment procedures set out in the applicable legislation, when a third party is required. The European Commission publishes a list of such notified bodies.