Supplementary to “Spatial distribution of Biomphalaria straminea in relation to environmental factors in China”

Ya Yang1,*, Shaoyu Huang2,*, Fuquan Pei2, Qingwu Jiang1, Zhuohui Deng2,†, Yibiao Zhou1,†

1Key Laboratory of Public Health Safety, Ministry of Education, Tropical Disease Research Center, Department of Epidemiology, School of Public Health, Fudan University, Shanghai, China

2Guangdong Provincial Center for Disease Control and Prevention, WHO Collaborating Centre for Surveillance, Research and Training of Emerging Infectious Diseases, Guangzhou, Guangdong, China

*These authors contributed equally to this work.

†Correspondence: tracydzh@163.com; z_yibiao@hotmail.com

## Table S1 Physicochemical parameters measured and relevant analytical methods in this study.

| Type of sample | Variables (abbreviation) | Detection Methods (Instruments) | Limit of detection (LOD) |
| --- | --- | --- | --- |
| Water | Total nitrogen (TN) | Alkaline potassium persulfate ultraviolet spectrophotometry (UV759, Shanghai INESA Scientific Instrument Co., Ltd., China) | 0.05 mg/L |
|  | Nitrate and nitrites (NOx-) | Ultraviolet spectrophotometry (UV759, Shanghai INESA Scientific Instrument Co., Ltd., China) | 0.08 mg/L |
|  | Ammonia nitrogen (NH3-N) | Nessler’s reagent spectrophotometry (UV759, Shanghai INESA Scientific Instrument Co., Ltd., China) | 0.025 mg/L |
|  | Total phosphorus (TP) | Ammonium molybdate spectrophotometry (UV759, Shanghai INESA Scientific Instrument Co., Ltd., China) | 0.01 mg/L |
|  | Chemical Oxygen Demand (COD) | Rapid digestion spectrophotometry (COD digestion instrument XJ-III, Tomorrow environmental protection instrument Co., Ltd., China) | 2 mg/L |
|  | Dissolved Oxygen (DO) | Dissolved oxygen analyzer(JPBJ-608, Shanghai INESA Scientific Instrument Co., Ltd., China) |  |
|  | pH | pH meter (pH meter, OHAUS (Changzhou) Co., Ltd., China ) | 2-12（0-40℃） |
|  | Electrical conductivity (EC) | Electrical conductivity analyzer (DDS-307A, , Shanghai INESA Scientific Instrument Co., Ltd., China) | 0-500 mS/m（0-40℃） |
|  | Calcium (Ca) | Atomic absorption spectrometry (ZA3300, Hitachi, Japan) | 0.02 mg/L |
|  | Magnesium (Mg) |  | 0.02 mg/L |
|  | Copper (Cu) |  | 0.04 mg/L |
|  | Zinc (Zn) |  | 0.009 mg/L |
|  | Iron (Fe) |  | 0.01 mg/L |
|  | Manganese (Mn) |  | 0.01 mg/L |
|  | Cadmium (Cd) |  | 0.05 mg/L |
|  | Lead (Pb) |  | 0.1 mg/L |
|  | Chromium (Cr) |  | 0.03 mg/L |
|  | Nickel (Ni) |  | 0.02 mg/L |
| Sediment | pH_s | pH meter (pH meter, OHAUS (Changzhou) Co., Ltd., China | 2-12（0-40℃） |
|  | Electrical conductivity (EC_s) | Electrical conductivity analyzer (DDS-307A, , Shanghai INESA Scientific Instrument Co., Ltd., China) | 0-500 mS/m（0-40℃） |
|  | Total organic carbon (TOC) | Potassium dichromate oxidation spectrophotometry (UV759, Shanghai Jingke Industrial Co., Ltd., China) | 0.6g/Kg |
|  | Copper (Cu_s) | Atomic absorption spectrometry (ZA3300, Hitachi, Japan) | 0.1 mg/Kg |
|  | Zinc (Zn_s) |  | 0.4 mg/Kg |
|  | Iron (Fe_s) |  | 100 mg/L |
|  | Manganese (Mn_s) |  | 0.1 mg/Kg |
|  | Cadmium (Cd_s) |  | 0.0001 mg/Kg |
|  | Lead (Pb_s) |  | 0.0005 mg/Kg |
|  | Chromium (Cr_s) |  | 2.5 mg/Kg |
|  | Nickel (Ni_s) |  | 2.5 mg/Kg |