Supplemental Information

	Supplemental Table 1. Comparison of physicians’ clinical judgement with the results of institutions’ laboratory rapid testing in Hospital A using the Acon® Leptospira IgG/IgM Rapid Test, Acon Laboratories, USA (n = 13)

	
	MAT
	Sensitivity (95% CI)
	Specificity (95% CI)
	PPV 
(95% CI)
	NPV 
(95% CI)
	Accuracy (95% CI)

	
	Positive
	Negative
	
	
	
	
	

	Clinical Judgement
	Positive
	4
	0
	44.4% (13.7%–78.8%)
	100.0% (39.8%–100.0%)
	100.0% (39.8%–100.0%)
	44.4% (30.8%–58.9%)
	61.5% (31.6%–86.1%)

	
	Negative
	5
	4
	
	
	
	
	

	Laboratory Rapid Test Kit
	Positive
	3
	0
	33.3% (7.5%–70.1%)
	100.0% (39.8%–100.0%)
	100.0% (29.4%–100.0%)
	40.0% (29.6%–51.4%)
	53.9% (25.1%–80.8%)

	
	Negative
	6
	4
	
	
	
	
	

	CI, confidence interval; PPV, positive predictive value; NPV, negative predictive value; MAT, microscopic agglutination test.



	Supplemental Table 2. Comparison of physicians’ clinical judgement with the results of institutions’ laboratory rapid testing in Hospital B using the Aria® Leptospira IgG/IgM Combo Rapid Test, CTK Biotech, USA (n = 59)

	
	MAT
	Sensitivity (95% CI)
	Specificity (95% CI)
	PPV 
(95% CI)
	NPV 
(95% CI)
	Accuracy (95% CI)

	
	Positive
	Negative
	
	
	
	
	

	Clinical Judgement
	Positive
	32
	10
	76.2% (60.6%–88.0%)
	41.2% (18.4%–67.1%)
	76.2% (67.5%–83.1%)
	41.2% (24.2%–60.5%)
	66.1% (52.6%–77.9%)

	
	Negative
	10
	7
	
	
	
	
	

	Laboratory Rapid Test Kit
	Positive
	20
	3
	46.5% (31.2%–62.4%)
	81.3% (54.4%–96.0%)
	87.0% (69.6%–95.1%)
	36.1% (28.2%–44.9%)
	55.9% (42.4%–68.8%)

	
	Negative
	23
	13
	
	
	
	
	

	CI, confidence interval; PPV, positive predictive value; NPV, negative predictive value; MAT, microscopic agglutination test.



	Supplemental Table 3. Comparison of physicians’ clinical judgement with the results of institutions’ laboratory rapid testing in Hospital C using the BasecheckTM Leptospira IgG/IgM Rapid Test Cassette, Acro Biotech, China (n = 55)

	
	MAT
	Sensitivity (95% CI)
	Specificity (95% CI)
	PPV 
(95% CI)
	NPV 
(95% CI)
	Accuracy (95% CI)

	
	Positive
	Negative
	
	
	
	
	

	Clinical Judgement
	Positive
	21
	25
	87.5% (67.6%–97.3%)
	19.4% (7.5%–37.5%)
	45.7% (40.0%–51.4%)
	66.7% (35.8%–87.8%)
	49.1% (35.4%–62.9%)

	
	Negative
	3
	6
	
	
	
	
	

	Laboratory Rapid Test Kit
	Positive
	9
	6
	39.1% (19.7%–61.5%)
	81.3% (63.6%–92.8%)
	60.0% (38.3%–78.4%)
	65.0% (56.3%–72.8%)
	63.6% (49.6%–76.2%)

	
	Negative
	14
	26
	
	
	
	
	

	[bookmark: _GoBack]CI, confidence interval; PPV, positive predictive value; NPV, negative predictive value; MAT, microscopic agglutination test.



