Supplementary table 4: Accuracy of measurements of ciprofloxacin solution (runs 1, 2 and 3)

|  | True Expected Concentration CIP (mg.ml-1) | Experimental Concentration CIP (mg.ml-1) | # Relative deviation (%) (a) | USP Accuracy requirement (%) |
| --- | --- | --- | --- | --- |
| Normal Unknown (run 1) | 0.2010182 | 0.1960401 | 2.47% | ±5% |
| Normal Unknown (run 2) | 0.2027911 | 0.1968677 | 2.92% | ±5% |
| Normal Unknown (run 3) | 0.2027911 | 0.1980150 | 2.35% | ±5% |

a: RD = experimental -expectedexpected