Supplementary table 4: Accuracy of measurements of ciprofloxacin solution (runs 1, 2 and 3)
	
	True Expected Concentration CIP (mg.ml-1)
	Experimental Concentration CIP (mg.ml-1)
	Relative deviation (%) (a)
	USP Accuracy requirement (%)

	Normal Unknown (run 1)
	0.2010182
	0.1960401
	2.47%
	±5%

	Normal Unknown 
(run 2)
	0.2027911
	0.1968677
	2.92%
	±5%

	Normal Unknown 
(run 3)
	0.2027911
	0.1980150
	2.35%
	±5%


a: RD = 
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