Supplementary table 6: Accuracy of measurements of clavulanic acid solution 
	
	True Expected Concentration CA (mg ml-1)
	Experimental Concentration CA (mg ml-1)
	Relative deviation (%) (a)
	USP Accuracy requirement (%)

	Normal Unknown 1
	0.0225
	0.0226
	0.45
	±5%

	Normal Unknown 2
	0.0288
	0.0290
	0.60
	±5%


a: RD = 
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