Supplementary table 6: Accuracy of measurements of clavulanic acid solution

|  | True Expected Concentration CA (mg ml-1) | Experimental Concentration CA (mg ml-1) | Relative deviation (%) (a) | USP Accuracy requirement (%) |
| --- | --- | --- | --- | --- |
| Normal Unknown 1 | 0.0225 | 0.0226 | 0.45 | ±5% |
| Normal Unknown 2 | 0.0288 | 0.0290 | 0.60 | ±5% |

a: RD = experimental -expectedexpected