Supplementary table 7: Accuracy of measurements of amoxicillin solution

|  | True Expected Concentration AMOX (mg ml-1) | Experimental Concentration AMOX (mg ml-1) | Relative deviation (%) (a) | USP Accuracy requirement (%) |
| --- | --- | --- | --- | --- |
| Normal Unknown 1 | 0.1207 | 0.1211 | 0.33 | ±5% |
| Normal Unknown 2 | 0.1548 | 0.1551 | 0.19 | ±5% |

a: RD = experimental -expectedexpected