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	Parameter
	Recommendation

	Amount of TF on the Strip per reaction
	15-20 mm (>10 µL)

	Duration of the TF RT-QuIC
	150h

	Software settings of the TF-QuIC
	1 min double orbital shaking at 700 rpm and 1 min incubation

	Definition of a positive reaction
	≥ 50% positive reactions

	1out of  positive reactions
	Repetition, if 3/6 are positive reaction is considered positive 

	Kind of recombinant substrate
	Highly sensitive FL Hu E200K

	Collection of TF
	Schirma method





