Table S-1. Selected reaction monitoring conditions for protonated or deprotonated plant hormones

| Plant hormones | SM | Q1 | Q3 | Q2 (V) | DP (V) | RT |
| --- | --- | --- | --- | --- | --- | --- |
| IAA | + | 176.1 | 130.0 | 20 | 138 | 10.37 |
| ABA | − | 263.1 | 203.9 | -26 | -60 | 10.60 |
| GA | − | 345.0 | 239.0 | -20 | -70 | 9.79 |
| ZR | + | 352.0 | 136.0 | 41 | 40 | 9.22 |

IAA; indole-3-acetic acid, ABA; abscisic acid, GA; gibberelic acid, ZR; zeatin riboside, SM; scane mode, Q1; precursor ion selected in Q1, Q3; product ion selected in Q3, Q2; collision energy (V), DP; declustering potential (V), RT; retention time. Retention times listed in this table are obtained under HPLC and column conditions mentioned in the protocol.

Table S-2. Reverse-phase HPLC gradient parameters for plant hormones

| Time (min) |  | Gradient (percentage of B by volume) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 0-1 |  | 25 |  |  |  |  |
| 1-5 |  | Increase linearly |  |  |  |  |
| 5-6.5 |  | 95 |  |  |  |  |
| 6.5-13 |  | Decrease linearly to 25 |  |  |  |  |

HPLC; high performance liquid chromatography, Reverse phase column, InertSustain, AQ-C18 5µm, 4.6 × 250 mm; 40 ℃; Injection volume, 5.00 µl; Flow, 0.6 ml/min; Mobile phase A, distilled water with 0.1% acetic acid; mobile phase B, acetonitrile.