Supplementary Information
Valorization of Ginseng Extraction Residue for Producing Rare Ginsenoside-Enriched Eggs
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[bookmark: _Hlk241946944]Figure S1. XIC traces of reference standards and boiled egg albumen and yolk samples.
(a) CK; (b) Rh2; (c) F1; (d) Rh1; (e) Rg2; (f) Rg3. Black, blue, and orange denote standard, albumen, and yolk. Traces were baseline-adjusted, normalized separately, and offset. Transitions are labelled in each panel; dashed lines indicate standard retention times. Numbers mark local maxima. 

[bookmark: _Hlk241946996]Table S1. Summary of recorded QC concentrations at a nominal 1 ng/mL.
	Ginsenoside
	n
	Mean calculated concentration (ng/mL)
	Accuracy (%)
	Concentration RSD (%)

	CK
	6
	1.06784
	106.78
	0.0315

	Rh2
	6
	1.11104
	111.10
	0.0664

	F1
	6
	1.06784
	106.78
	0.0315

	Rh1
	6
	0.97035
	97.03
	0.0646

	Rg2
	6
	1.15790
	115.79
	0.0826

	Rg3
	6
	1.05605
	105.60
	0.0521


n = 6. Accuracy is the mean recorded concentration divided by the nominal concentration, expressed as a percentage. RSD was calculated from the six recorded concentrations. 
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