Supporting Information

Table S1.

HPLC-MS/MS conditions for the analysis of trans- and cis-vitamin K1

| HPLC |  |
| --- | --- |
| Instrument | Waters Acquity UPLC system |
| Column | Analytical: C30 column (150ⅹ4.6 mm, particle size 3 μm; YMC Co.) Guard: C30 column (23ⅹ4.0 mm; YMC Co.) |
| Injection volume | 10 μL |
| Flow rate | 1.0 mL/min |
| Mobile phase | Isocratic; methanol:water (96:4, v/v) with 0.1% formic acid |
| MS/MS |  |
| Instrument | Waters Xevo TQS triple quadrupole MS |
| Ionization conditions | APCI, positive mode Corona discharge current : 3.0 μA Cone voltage : 30 V Flow rate of the desolvation gas : 1000 L/hr Desolvation temperature : 600 oC |
| SRM channels | m/z 452→187 for vitamin K1 m/z 459→194 for vitamin K1-d7 |
| MS/MS conditions | Gas flow : 0.15 mL/min Collision energy : 20 eV Cone voltage : 60 eV Dwell time : 0.5 s |

Table S2.

Comparison with other HPLC-based methods proposed for vitamin K1 analysis in foods

| Method | Food Matrix | Trans/cis separation | Analytical Performance | References |
| --- | --- | --- | --- | --- |
| HPLD-FLD | Various foods including vegetable juice, milk, spinach, bread, and ground beef | X | Precision : 6.3~7.4% a | Booth et al. 1994 |
| HPLC-FLD | Various foods including soybean oil, broccoli, parsley, spinach, and tea leaves | O | Precision: 1.5~10.8% | Woollard et al. 2002 |
| HPLC-FLD | Vegetables, algae, fats and oils | X | Not provided | Kamao et al. 2007 |
| HPLC-FLD | Milk and infant formula | X | Precision: 4.3~10.9% | AOAC 2012 |
| ID-HPLC-MS/MS | Vegetables and fruits | X | Accuracy: 88~90% Precision: 1.1~8.8% | Huang et al. 2016 |
| ID-HPLC-MS/MS | Fruits and vegetables | X | Accuracy: 90~120% Precision: 3.4~5.2% | Jäpelt and Jakobsen 2016 |
| HPLC-MS/MS | Vegetables including lettuce, spinach, and kale | X | Accuracy: 90~114% Precision: 8.8~9.2% | Campillo et al. 2019 |
| ID-HPLC-MS/MS | Hazelnut, cheese, and broccoli | X | Accuracy: 94~125% Precision: 5.5~5.9% | Jensen et al. 2021 |
| ID-HPLC-MS/MS | Spinach and kimchi cabbage | O | Accuracy: 98~103% Precision: < 2.0% | This method |

a The precision was expressed as a percentage of the relative standard deviation (RSD).