Supplementary information S1:-  TLC plate representing S:standards B1(1 µg/mL), B2(0.5 µg/mL), G1(1 µg/mL), G2(0.5 µg/mL) and samples as follows 1:MTCC2798(Positive strain) (100 µL-load volume), 2:W7G isolate of Aspergillus section Flavi obtained from wheat sample, 3:R10G isolate of Aspergillus section Flavi obtained from  rice sample, 4:C3G isolate of Aspergillus section Flavi obtained from chickpeas sample, 5:S4G isolate of Aspergillus section Flavi obtained from yellow mustard, 6:Ra2G isolate of Aspergillus section Flavi obtained from black mustard sample, 7:C4B isolate of Aspergillus section Nigri isolated from chickpeas sample (Negative strain), 8: MTCC2798(Positive strain)(20 µL-load volume)

Supplementary information S2:- HPLC chromatogram of aflatoxins (AFS) standard solution contains 0.5 ppb AFB1, 0.5 ppb AFB2, 0.5 ppb AFG1 and 0.5 ppb AFG2 (2 ppb total AFS).

Supplementary information S3:- Proforma for sample collection

Supplementary information S4:- Aflatoxin standard calibration

| Name | RT (min) | Area | RF | Calibration Amount (µL) | Amount | Concentration (µg/kg) |
| --- | --- | --- | --- | --- | --- | --- |
| Aflatoxin G2 | 7.157 | 3564.922 | 355.32 | 10 | 10.033 | 10.033 |
| Aflatoxin G1 | 8.906 | 2482.909 | 247.689 | 10 | 10.024 | 10.0243 |
| Aflatoxin B2 | 11.254 | 5093.516 | 506.6 | 10 | 10.054 | 10.0543 |
| Aflatoxin B1 | 14.299 | 2382.224 | 238.792 | 10 | 9.976 | 9.9761 |
|  | Sum | 13523.57 |  |  | 40.088 | 40.0877 |

# Compound:	Aflatoxin B1

Signal:	FLD1A

Exp. RT:	14.299

Residual:	17.61489

R:	0.99986

R^2:	0.99972

Formula:	y = ax + b

a:	238.3766

b:	4.1485

Aflatoxin B1 calibration

c:

d:

# Compound:	Aflatoxin B2

# Signal:	FLD1A

Exp. RT:	11.254

Residual:	31.90825

R:	0.99990

R^2:	0.99979

Formula:	y = ax + b

a:	507.5924

b: -9.9748

Aflatoxin B2 calibration

c:

d:

# Compound:	Aflatoxin G1

# Signal:	FLD1A

Exp. RT:	9.482

Residual:	7.02106

R:	0.99998

R^2:	0.99996

Formula:	y = ax + b

a:	247.9383

Aflatoxin G1 calibration

b: -2.5021

c:

d:

# Compound:	Aflatoxin G2

# Signal:	FLD1A

Exp. RT:	7.596

Residual:	13.61695

R:	0.99996

R^2:	0.99992

Formula:	y = ax + b

a:	355.7842

Aflatoxin G2 calibration

b: -4.6546

c:

d: