Table S1. Magnetic resonance sequences and parameters
	Sequence
	TR
（ms）
	TE（ms）
	Thickness
（mm）
	Gap between sections
（mm）
	NEX
	FOV（cm2）
	Matrix
（[freq] ×[phase]）
	Flip angle

	Breath-hold 3D spoiled gradient echo (BH 3D-SPGR) axial T1WI 
	195 
	3 s
	4 
	0.4 
	0.75
	40 × 40 
	280 × 192 
	NA

	Fast spin echo (FSE) of WATER Oax T2 ideal fat suppression T2WI 
	8600 
	86
	4 
	0.4 
	2
	40 × 40 
	288 × 224 
	NA

	Respiratory gating RT coronal T2WI 
	7800 
	85 
	6 
	1 
	1
	38 × 38 
	288 × 224 
	NA

	Breath-hold SSFSE sagittal T1WI 
	1871 
	120 
	6 
	1 
	-
	35 × 35 
	384× 256 
	NA

	[bookmark: _GoBack]Axial dynamic contrast-enhanced (DCE) sequence with breath hold liver acquisition with volume acceleration (BH-LAVA) T1WI 
	2.6 
	1.2 
	4 
	2 
	-
	40 × 40 
	170 × 272 
	12°



Abbreviation: NA=not available. 
PS: A total dose of 0.1 mmol/kg body weight Gd-DTPA (Magnevist, Bayer Schering Pharma, Berlin, Germany) was injected via an antecubital vein via the pump injector (Medrad, Warrendale, Pennsylvania, USA) at the flow rate of 2.5 mL/s, after which 20 mL saline was injected at the same flow rate. There were 7 total phases including a mask phase obtained before contrast agent administration, and 6 enhanced images composed of 2 continuous scans (no intermediate time interval) at 12 s and 50 s, and 1 scan at 90 s and 1 scan at 150 s after contrast agent administration. A single complete enhanced scanning phase took 7-8 s, and provided 44 or 48 images, depending on the patient’s body size.
