[bookmark: _GoBack]Supplementary Table 4. Comparison of semiautomatic segmentation and manual segmentation.

Abbreviations: DECT, dual-energy computed tomography; HCC, hepatocellular carcinoma; HU, Hounsfield unit; ICC, intra-class correlation coefficients
* Agreements were assessed with intra-class correlation coefficients (ICC).

	DECT Parameters of HCC
	Semiautomatic segmentation
	Manual segmentation
	ICC*

	Total volume (ml)
	8.8 ± 9.2
	7.8 ± 7.5
	0.968

	Maximal diameter (mm)
	28.3 ± 10.7
	27.2 ± 9.8
	0.981

	Mean HU (HU)
	102.9 ± 24.5
	101.5 ± 24.0
	0.996

	Total iodine concentration (mg/ml)
	1.91 ± 0.82
	1.89 ± 0.80
	0.995

	Normalized iodine concentration (mg/ml)
	0.15 ± 0.06
	0.14 ± 0.06
	0.994



