	Supplementary Table 1 Scoring for subjective PET image quality by the Likert scale

	Grade
	Overall image quality
	Image noise
	Lesion conspicuity

	1
	non-diagnostic
	excessive noise
	faliure to recognize

	2*
	acceptable
	higher than the regular uM780 images
	limited lesion delineation, impaired diagnostic confidence

	3
	equivalent to the regular uM780 images
	similar to the regular uM780 images
	recognizable with adequate information for diagnosis

	4
	superior to the average
	lower than the regular uM780 images
	fairly-displayed

	5
	excellent
	near-unnoticeable noise
	Well-defined, sharp lesion demarcation


[bookmark: _GoBack]* Subjective image score ≥ 2 points indicated a visually and diagnostically acceptable image with no need for rescanning. 

