Effect of Kilovoltage and Quality Reference mAs on CT-Based Attenuation Correction in 177Lu SPECT/CT Imaging: a phantom

Author Names and Degrees:

Dr. Maikol Salas-Ramirez1*,

MSc. Julian Leube1,

Prof. Dr. Michael Lassmann1,

Dr. Johannes Tran-Gia1

Affiliations:

1Department of Nuclear Medicine, University Hospital Würzburg, Würzburg, Germany

# DERIVATION OF EQUATION 1

The change in 177Lu activity quantification (∆A[%]) is defined as:

∆A177Lu[%]=AmeasuredAtheoretical-1∙100%     [S1]

Here, Ameasured is the activity measured using μmeasured-map. Atheoretical is the activity measured using μtheoretical-map.

Next, the non-attenuated activity (A0, true activity) is introduced:

∆A177Lu[%]=AmeaseuredA0AtheoreticalA0-1∙100%     [S2]

By definition ACFmeasured=A0Ameasured and ACFtheoretical=A0Atheoretical. Therefore, the equation 2 takes the form:

∆A177Lu[%]=1ACFmeasured1ACFtheoretical-1∙100%     [S3]

Lastly, the equation 1 in the manuscript is obtained:

∆A177Lu[%]=ACFtheoreticalACFmeasured-1∙100%     [S4]

# SUPPLEMENTAL TABLES

Supplemental table 1. Nominal activities inside of the syringes

| Source geometry (Syringe volume, mL) | Attenuation material | Nominal activity (kBq) |
| --- | --- | --- |
| 1 | PS | 146 |
|  | PTFE | 162 |
|  | PP | 168 |
|  | PA | 155 |
| 10 | PS | 1587 |
|  | PTFE | 1524 |
|  | PP | 1443 |
|  | PA | 1505 |

# SUPPLEMENTAL FIGURES

Supplemental Figure 1.  Measured attenuation coefficient (µmeasured) of the 177Lu µ-map for the seven studied combinations of kVp and QRM: A) Inner inserts. B) Outer inserts.

Supplemental Figure 2. Relative errors between measured (µmeasured) and theoretical (µtheoretical) attenuation coefficients of 177Lu µ-map for the seven studied combinations of kVp and QRM: A) Inner inserts. B) Outer inserts.

Supplemental Figure 3. Measured and theoretical ACF values: A) Intern inserts. B) Extern inserts. I0 is the image with attenuation correction and I is the image without attenuation correction. Theoretical ACF values are represented by the digital phantom.