Supplemental Table 1  Calibration curve, LOD, and LOQ

| Drug | Slope | Intercept | r 2 | Concentration range (mg/mL) | LOD (ng/mL) | LOQ (ng/mL) |
| --- | --- | --- | --- | --- | --- | --- |
| amoxicillin | 13941 | -4083 | 0.9992 | 7.7-123 | 25.8 | 78.3 |
| cefcapene pivoxil | 18712 | 1603 | 0.9992 | 2.3-36.0 | 3.3 | 10.0 |

S.D. and S of amoxicillin were 72.75 and 9.29, respectively.

S.D. and S of cefcapene pivoxil were 22.62 and 22.51, respectively.