Table 1. Summary of calibrator and reaction control results for ELISA assays
	Reagents
	Manufacturer predicted value (µg/g)
	Measured value (n=2, µg/g)

	Blank 
	N/A
	24.601

	Calibrator A
	30
	30

	Calibrator B
	90
	89.999

	Calibrator C
	300
	300

	Calibrator D
	900
	900.001

	Calibrator E
	1800
	1800.031

	Low control
	66-171
	127.436

	High control
	303-561
	 408.966
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	Reagents
	Manufacturer predicted value (µg/g)
	Measured value (n=2, µg/g)

	Calibrator 1
	0
	0

	Calibrator 2
	55.3
	0

	Calibrator 3
	220.6
	536.119

	Calibrator 4
	552.3
	1.127.235

	Calibrator 5
	1104.1
	1.399.032

	Calibrator 6
	2207.6
	1.892.208

	Low control
	68-104
	0

	High control
	228-342
	602.765




