	
 Table S3 Girls and women of childbearing age group methods of included data

	       
	Kit/Manual                                
	Cut off value
(IgM titer)
	Cut off value
(IgG titer)
	 Method  
	               Authors  

	
	Alphabiol Tech
	> 12.5  IU/ml
	> 12.5  IU/ml
	ELISA
	Kamyabi et al., 1999

	
	Manual
	
	≥ 1:50
	IFA
	Ajami et al., 2001

	
	Manual
	
	≥ 1:20
	IFA
	Mostafavizadeh et al., 2002

	
	NovumDiagnostica
	
	
	ELISA
	Taravati et al., 2002

	
	Manual
	
	≥ 1:20
	IFA
	Rabiee et al., 2003

	
	Manual
	
	≥ 1:100
	IFA
	Mahmoudi et al., 2005

	
	RADIM, Italy
	
	≥ 30 IU/ml
	ELISA
	Hatam et al., 2005

	
	Manual
	
	≥ 1:20`
	IFA
	Fallah et al., 2005

	
	Diaplus
	
	> 20  IU/ml
	ELISA
	Rafiei et al., 2005

	
	Manual
	> 12.5  IU/ml
	≥ 1:20
	IFA
	Daryani et al., 2006

	
	Kit                                          
	>1.1 IU/ml
	>1.1 IU/ml
	ELISA
	Saeedi et al., 2007

	
	RADIM, Italy
	> 30  IU/ml
	> 30  IU/ml
	ELISA
	Yousefi et al., 2007

	
	
	
	
	
	Chamani et al., 2007

	
	Biokit, Spain
	
	> 10  IU/ml
	ELISA
	Mohammadi et al., 2008

	
	Trinity Biotech
	
	
	ELISA
	Hajghani et al., 2008

	
	ADALTIS, Italy
	> 20  IU/ml
	> 20  IU/ml
	ELISA
	Ali Mohammadi et al., 2008

	
	Kit
	
	
	ELISA
	ZiaeiKajbaf et al., 2008

	
	Diaplus, USA
	
	> 20  IU/ml
	ELISA
	Fallahi et al., 2009

	
	Manual
	≥ 1:20
	≥ 1:20
	IFA
	Arbabi et al., 2009

	
	Manual
	
	≥ 1:20
	IFA
	Jahani Hashemi et al., 2010

	
	Euro Immune, Germany
	> 11  IU/ml
	> 11  IU/ml
	ELISA
	Fouladvand et al., 2010

	
	Euro Immune, Germany
	> 11  IU/ml
	> 11  IU/ml
	ELISA
	Fouladvand et al., 2010

	
	Euro Immune, Germany
	> 11  IU/ml
	> 11  IU/ml
	ELISA
	Fouladvand et al., 2010

	
	DiaSorin, USA
	> 12.5  IU/ml
	
	ELISA
	Khazaie et al., 2011

	
	ADALTIS, USA
	
	> 20  IU/ml
	ELISA
	Namayee et al., 2011

	
	Viro Immune
	
	
	ELISA
	Heydari et al., 2011

	
	DioPro,Italy
	
	> 11  IU/ml
	ELISA
	Mostafavi et al., 2012

	
	Kit
	
	
	ELISA
	Khazaei et al., 2012

	
	Kit
	> 1  IU/ml
	> 1  IU/ml
	ELISA
	Maraghi et al., 2013

	
	Manual
	
	≥ 1:100
	IFA
	Rajaii et al., 2013

	
	Trinity Biotech
	
	≥ 1.1 IU/ml
	ELISA
	Ali Asghari, et al., 2013

	
	Euro Immune, Germany 
	> 11  IU/ml
	> 11  IU/ml
	ELISA
	Ghadamgahi et al., 2013

	
	Kit
	
	
	ELISA
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	Dia Pro, Italy
	> 11  IU/ml
	> 11  IU/ml
	ELISA
	Davami et al., 2013

	
	Dia Pro, Italy
	
	> 50  IU/ml
	ELISA
	ManouchehriNaeini et al., 2014

	
	Kit
	
	≥ 1:20
	ELISA
	Kamran et al., 2014

	
	Kit
	> 11  IU/ml
	> 11  IU/ml
	ELISA
	Fallah et al., 2014

	
	Manual
	
	
	ELISA
	Mohammadi et al., 2015



