Supplementary table 1

| Biomarker | Main function |  | Test kit | Mfr | Serum dilution | Detection range1 | Samples below LLOQ |  |  |  | Mean and acceptable range of QC2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Patients N=41 BL M6 |  | Controls N=39 BL M6 |  |  |
| ELISA (ng/mL) |  |  |  |  |  |  |  |  |  |  |  |
| CTX-1 | Bone | Bone resorption | Serum Crosslaps® CTX-1 | IDS | No dilution | 0.020 – 2.276 | N= 0 | N= 0 | N= 0 | N= 0 | QC1 range: 0.213 – 0.319 Plate 1: 0.273 ± 0.008 Plate 2: 0.275± 0.016 QC2 range: 0.799 – 1.199 Plate 1: 0.971 ± 0.003 Plate 2: 0.922 ± 0.04 |
| Osteocalcin | Bone | Bone formation | Osteocalcin |  |  | 0.5-97.5 | N= 0 | N= 0 | N= 0 | N= 0 | QC1 range: 20.5 – 30.8 Plate 1: 23.841±0.576 Plate 2: 23.71 ± 0.475 QC2 range: 40.0 – 60.0 Plate 1: 44.041 ±1.46 Plate 2: 44.287 ± 1.437 |
| COMP | Cartilage | Cartilage matrix protein | Human COMP Quantikine ELISA Kit DCMP0 | R&D systems/ BioTechne | 1/100 | 0.010 – 0.156 | N= 0 | N= 0 | N= 0 | N= 0 | Not applied by the mfr |
| Luminex® (pg/mL) |  |  |  |  |  |  |  |  |  |  |  |
| VEGF | Inflam. | Angio-genesis | LXSAHM-06 | R&D systems/ BioTechne | 1/2 | 7 – 1 640 | N= 0 | N= 0 | N= 0 | N= 0 | Not applied by the mfr |
| OPG | Bone | Bone formation |  |  |  | 74-17 940 | N= 0 | N= 0 | N= 0 | N= 0 |  |
| HGF | Inflam. | Multi-functional | LXSAHM-25 |  |  | 15-3 660 | N= 0 | N= 0 | N= 0 | N= 0 |  |
| MMP-3 | Inflam. | Multi-functional |  |  |  | 82-20 000 | N= 0 | N= 0 | N= 0 | N= 0 |  |
| MMP-8 | Inflam. | Multi-functional |  |  |  | 222-54 080 | N= 0 | N= 0 | N= 0 | N= 0 |  |
| BAFF | Inflam. | B-cell survival |  |  |  | 17-4110 | N= 0 | N= 0 | N= 0 | N= 0 |  |
| Dkk-1 | Bone | Bone resorption |  |  |  | 202- 49 060 | N= 0 | N= 0 | N= 0 | N= 0 |  |
| SOST | Bone | Bone resorption |  |  |  | 10-2 290 | N= 1 | N= 1 | N= 1 | N= 1 |  |
| RANKL | Bone | Bone resorption |  |  |  | 48-11 680 | N= 2 | N= 2 | N= 1 | N= 2 |  |
| S100A8 | Inflam. | Neutrophil activation |  |  |  | 16 270 – 66 955 | N= 2 | N= 2 | N= 6 | N= 7 |  |
| S100A9 | Inflam. | Neutrophil activation | LXSAHM-01 |  |  | 5 750 – 23 663 | BL: N= 1 | M6: N= 3 | BL: N= 0 | M6: N= 0 |  |

1 according to the manufacturer’s instructions

2 included in the kits

Mfr: manufacturer; LLOQ: lower limit of quantification; BL: baseline; M6: month 6; QC: quality control; ELISA: Enzyme-linked immunosorbent assay; CTX-1: carboxy-terminal crosslinked telopeptide of type 1 collagen; IDS: Immunodiagnostics systems; COMP: cartilage oligomeric matrix protein; VEGF: vascular endothelial growth factor; Inflam.: Inflammation; OPG: osteoprotegerin; HGF: hepatocyte growth factor; MMP-3: matrix metalloproteinase 3; MMP-8: matrix metalloproteinase 8; BAFF: B-cell activating factor; Dkk-1: dickkopf-1; SOST: sclerostin; RANKL: receptor activator of nuclear factor kappa B ligand.