Supplementary Material

Abbreviations:

- EA: External Assessor

- PEA: Percent Exact Agreement

- PCA: Percent Close Agreement (difference within 1 score)

- Kappa: Quadratic weighted Cohen’s kappa

Table S1: Osteophyte grade distribution in failed versus successful ARTHUR scans

| Metric | ARTHUR scan failed (n = 133 joints) | ARTHUR scan succeeded (n = 703 joints) |
| --- | --- | --- |
| Grade 0, n (%) | 30 (22.6) | 198 (28.2) |
| Grade 1, n (%) | 56 (42.1) | 321 (45.7) |
| Grade 2, n (%) | 35 (26.3) | 113 (16.1) |
| Grade 3, n (%) | 12 (9.0) | 71 (10.1) |
| % with OA Grade ≥ 2 (by EA) | 35.3 | 26.2 |
| Mean OA score (SD) | 1.2 (0.9) | 1.1 (0.9) |

Fisher’s exact test for proportion ≥ grade 2: p = 0.034. Mann–Whitney U test for mean OA score: p = 0.064. Chi-squared test for full grade distribution: p = 0.039.

OA grades assigned by the EA on rheumatologist-acquired images.

Table S2: Performance on a joint level

This table shows the agreement (Kappa, PEA, PCA) for each joint type (MCP, PIP, DIP) across the three primary comparisons.

| Comparison | Joint Type | Kappa (95% CI) | PEA (95% CI) | PCA (95% CI) |
| --- | --- | --- | --- | --- |
| Rheumatologist vs. EA | MCP | 0.76 (0.71–0.80) | 62.00 (56.24–67.52) | 99.33 (97.61–99.92) |
|  | PIP | 0.70 (0.65–0.74) | 55.22 (49.37–60.97) | 98.99 (97.08–99.79) |
|  | DIP | 0.55 (0.48–0.62) | 38.66 (32.43–45.16) | 93.28 (89.31–96.11) |
| ARTHUR+DIANA vs. Rheumatologist | MCP | 0.44 (0.33–0.54) | 52.14 (46.12–58.12) | 88.57 (84.25–92.05) |
|  | PIP | 0.55 (0.46–0.63) | 52.82 (46.83–58.74) | 92.96 (89.33–95.65) |
|  | DIP | 0.47 (0.35–0.58) | 56.68 (49.81–63.37) | 90.32 (85.59–93.91) |
| ARTHUR+DIANA vs. EA | MCP | 0.50 (0.39–0.60) | 56.79 (50.76–62.67) | 93.93 (90.46–96.42) |
|  | PIP | 0.54 (0.44–0.62) | 39.15 (33.40–45.12) | 93.24 (89.64–95.88) |
|  | DIP | 0.32 (0.24–0.40) | 24.31 (18.77–30.56) | 82.57 (76.87–87.36) |

Table S3: Agreement matrix of ARTHUR+DIANA predictions versus the External Assessor (EA)

The matrix shows the raw counts for each osteophyte grade.

| ARTHUR+DIANA ↓ / EA → | Grade 0 | Grade 1 | Grade 2 | Grade 3 | Total |
| --- | --- | --- | --- | --- | --- |
| Grade 0 | 197 | 14 | 3 | 1 | 215 |
| Grade 1 | 263 | 82 | 11 | 0 | 356 |
| Grade 2 | 38 | 60 | 24 | 9 | 131 |
| Grade 3 | 18 | 14 | 26 | 19 | 77 |
| Total | 516 | 170 | 64 | 29 | 779 |

Table S4: Agreement matrix of rheumatologist’s evaluations versus the External Assessor (EA)

The matrix compares the primary rheumatologist with the external assessor.

| Rheumatologist ↓ / EA → | Grade 0 | Grade 1 | Grade 2 | Grade 3 | Total |
| --- | --- | --- | --- | --- | --- |
| Grade 0 | 199 | 29 | 0 | 0 | 228 |
| Grade 1 | 179 | 153 | 44 | 1 | 377 |
| Grade 2 | 10 | 49 | 76 | 12 | 147 |
| Grade 3 | 2 | 8 | 59 | 14 | 83 |
| Total | 390 | 239 | 179 | 27 | 835 |

Table S5: Agreement at a Patient Level (Presence vs. Absence of Osteophytes)

| Metric | Rheumatologist vs. EA | ARTHUR+DIANA vs. EA |
| --- | --- | --- |
| Patient Agreement (95% CI) | 100.0 (88.4 to 100.0) | 86.7 (69.3 to 96.2) |

Table S6: Osteophyte presence distribution at a patient level

| Classification | Rheumatologist (%) | ARTHUR+DIANA (%) | EA (%) |
| --- | --- | --- | --- |
| Absence of osteophytes | 3.3 | 10.0 | 3.3 |
| Presence of osteophytes | 96.7 | 90.0 | 96.7 |

Table S7: DIANA agreement with the rheumatologist stratified by human expert concordance

| Metric | Concordant subset (Rheumatologist = EA, n = 415) | Discordant subset (Rheumatologist ≠ EA, n = 363) |
| --- | --- | --- |
| PEA, % (95% CI) | 55.2 (50.4–60.0) | 52.1 (46.9–57.2) |
| PCA, % (95% CI) | 94.5 (92.3–96.7) | 86.2 (82.7–89.8) |
| Binary agreement, % (95% CI) | 86.0 (82.7–89.4) | 76.6 (72.2–80.9) |
| Quadratic weighted κ (95% CI) | 0.51 (0.42–0.59) | 0.46 (0.38–0.54) |

Concordant: the rheumatologist and EA assigned the same osteophyte grade. Discordant: grades differed. The EA reference was defined as the maximum of the EA’s grades on rheumatologist-acquired and ARTHUR-acquired images. Binary classification: grades 0–1 = normal, grades 2–3 = pathological. PEA: Percent Exact Agreement; PCA: Percent Close Agreement. N = 778 joints with scores available from all three assessors.

Supplementary Table S8: The three binary 2×2 classification tables  A-C

Table A: ARTHUR+DIANA vs. EA (N = 779)

|  | EA Normal (0–1) | EA Pathological (2–3) | Total |
| --- | --- | --- | --- |
| DIANA Normal (0–1) | 556 | 130 | 686 |
| DIANA Pathological (2–3) | 15 | 78 | 93 |
| Total | 571 | 208 | 779 |

Sensitivity: 37.5%. Specificity: 97.4%. Binary agreement: 81.4%.

Table B: Rheumatologist vs. EA (N = 835)

|  | EA Normal (0–1) | EA Pathological (2–3) | Total |
| --- | --- | --- | --- |
| Rheumatologist Normal (0–1) | 560 | 69 | 629 |
| Rheumatologist Pathological (2–3) | 45 | 161 | 206 |
| Total | 605 | 230 | 835 |

Sensitivity: 70.0%. Specificity: 92.6%. Binary agreement: 86.3%.

Table C: ARTHUR+DIANA vs. Rheumatologist (N = 781)

|  | Rheumatologist Normal (0–1) | Rheumatologist Pathological (2–3) | Total |
| --- | --- | --- | --- |
| DIANA Normal (0–1) | 568 | 120 | 688 |
| DIANA Pathological (2–3) | 24 | 69 | 93 |
| Total | 592 | 189 | 781 |

Sensitivity: 36.5%. Specificity: 95.9%. Binary agreement: 81.6%.

Table S9: Decomposition of sources of variability

| Comparison | Image source | Variability isolated | κ (quad.) | N joints |
| --- | --- | --- | --- | --- |
| DIANA vs EA | Same (ARTHUR) | Grading | 0.57 | 703 |
| Rheumatologist vs EA | Same (manual) | Grading | 0.70 | 815 |
| EA (ARTHUR) vs EA (manual) | Different (same rater) | Acquisition | 0.74 | 683 |
| DIANA vs Rheumatologist | Different (diff. raters) | Both | 0.49 | 781 |

Quadratic weighted Cohen’s kappa. Grading variability was isolated by comparing raters on identical image sets. Acquisition variability was isolated by comparing the EA’s scores across ARTHUR-acquired and rheumatologist-acquired images of the same joints.