| Additional file 11. Reproducibility and spike recovery |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Vitamin | Precision variance (Percentage standard deviation) |  |  | Spike recovery from 100 mg spiked starch sample: Spike amount (ng) and recovery percentage (%)^ |  |  |  |  |  |  |  | % average overall |
|  |  |  |  | Spike 1 |  | Spike 2 |  | Spike 3 |  | Spike 4 |  |  |
|  | Intra- Batch# | Inter-batch, Interday † | Inter-injection‡ | ng | % | ng | % | ng | % | ng | % |  |
| PMP | 17 | 9.1 | 7.6 | 2.58 | 540.3^ | 10.3 | 124.1 | 20.6 | 128.9 | 30.9 | 129.6 | 127.53^ |
| PM | 19 | 21.5 | 8.4 | 6.39 | 93.3 | 25.56 | 76.7 | 51.13 | 65.3 | 76.69 | 77.8 | 78.28 |
| PNG | 4 | 5.7 | 3.2 | 5 | 105.0 | 20 | 104.3 | 40 | 106.8 | 60 | 102.1 | 104.55 |
| PN Ara | 5 | 12.0 | 2.2 | 5 | 114.9 | 20 | 79.1 | 40 | 82.1 | 60 | 80.4 | 89.13 |
| PN Cell | 7 | 9.3 | 5.5 | 5 | 54.0^ | 20 | 66.1 | 40 | 84.9 | 60 | 92.8 | 81.2^ |
| PN Gal | 4 | 18.4 | 3.9 | 5 | 39.8 | 20 | 20.8 | 40 | 24.8 | 60 | 23.4 | 27.2 |
| PN | 5 | 1.1 | 5.3 | 2.88 | 107.0 | 11.5 | 103.2 | 23 | 103.7 | 34.5 | 98.6 | 103.13 |
| Thiamine | 2 | 3.8 | 0.9 | 5 | 111.9 | 20 | 109.5 | 40 | 109.7 | 60 | 102.8 | 108.48 |
| # Intrabatch: three samples extracted in the same batch on the same day, † Interbatch: nine samples with three samples extracted on three separate days), ‡ Inter injection: Injection = 16 over 2 days, interspaced by blanks. ^Recovery is unreliable at the lowest concentration, so the lowest concentration is excluded from the average. Recovery percentage is calculated as 100*amount (ng) added to spiked sample/ amount calculated by LCMS after extraction |  |  |  |  |  |  |  |  |  |  |  |  |