# Supplementary Tables

| ## Additional file 6. Materials, consumables and equipment |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Additional file 6A. Equipment |  |  |  |  |
| Laboratory equipment |  | Manufacturer |  | Description |
| Centrifuge |  | Biomedia Holdings, Singapore |  | 1850R |
| HPLC-MS/MS |  | SCIEX, Massachusetts, USA |  | TQ 6500+ |
| Precision balance |  | Sartorius AG, Goettingen, Germany |  | BCE224I-IS |
| Pipette |  | Nichiryo Co., Ltd.,Tokyo, Japan |  | 100 µl, 200 µl, 1000 µl |
| Orbitor shaker |  | Thermo Fisher Scientific, Massachusetts, USA |  |  |
| Speed vacuum |  | SP Scientific, Pennsylvania, USA |  | miVac Quattro |
| Ultrasonic bath |  | HCS Scientific & Chemical Pte Ltd, Singapore |  | SK7 |
| Vortexer |  | DLAB Scientific Co, Ltd., Johor, Malaysia |  | MX-S |
| pH meter |  | Mettler-Toledo, Greifensee, Switzerland |  | SD20 |
| Freezer |  | Haier Biomedical, Quingdao, China |  | -80 ° C |
| ### Additional file 6B. Tubes and vials |  |  |  |  |
| Consumables | Manufacturer |  |  | Description |
| Centrifuge tubes (15 ml) | JetBiofil, Alicante, Spain |  |  | Amber, Conical button, Plug seal cap |
| Disposable syringes (1 ml) | Terumo, Eschborn, Germany |  |  | Without needle |
| HPLC Vials (2 ml) | Thermo Fisher Scientific, Massachusetts, USA |  |  | Amber Screw 9 mm |
| HPLC Vials lid (2 ml) | Thermo Fisher Scientific, Massachusetts, USA |  |  | Cap screw 9 mm Blue PP, white silicone |
| Inserts (200 µl) | HCS Scientific & Chemical Pte Ltd, Singapore |  |  | 5 mm x 29 mm |
| Pipette tips | Biotix Inc., San Diego, USA |  |  | 100 µl, 200 µl, 1000 µl |
| SPE cartridges | Agela Technologies |  |  | Cleanert SCX, 200 mg/ 3ml |
| Syringe filter | HCS Scientific & Chemical Pte Ltd, Singapore |  |  | PVDF, 0.45 µm, 0.2 micron |
| ### Additional file 6C. Solvents |  |  |  |  |
| Chemical |  |  | Manufacturer |  |
| Acetonitrile (ACN), LC-MS grade |  |  | VWR Internationale S.A.S, France |  |
| Ammonium hydroxide (NH4OH), Puriss, ~ 25% NH3 basis, Aqueous |  |  | Sigma-Aldrich, Steinheim, Germany |  |
| Ammonium formate (NH4(HCO2)), ≥ 99.0% |  |  | Sigma-Aldrich, Steinheim, Germany |  |
| Formic acid, ACS reagent, ≥ 98.0% |  |  | Sigma-Aldrich, Steinheim, Germany |  |
| Formic acid, LCMS grade |  |  | TCI Chemicals, Japan |  |
| Hydrochloric acid (HCl) |  |  | Sigma-Aldrich, Steinheim, Germany |  |
| Methanol (MeOH), LCMS grade |  |  | VWR Internationale S.A.S, France |  |
| Water (Type 1), produced by a Merck Water Purification system |  |  | Millipore, Darmstadt, Germany |  |