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	Laboratory equipment
	Manufacturer
	Description

	Centrifuge
	Biomedia Holdings, Singapore
	1850R

	HPLC-MS/MS
	SCIEX, Massachusetts, USA
	TQ 6500+

	Precision balance
	Sartorius AG, Goettingen, Germany
	BCE224I-IS

	Pipette
	Nichiryo Co., Ltd.,Tokyo, Japan
	100 µl, 200 µl, 1000 µl

	Orbitor shaker
	Thermo Fisher Scientific, Massachusetts, USA
	

	Speed vacuum
	SP Scientific, Pennsylvania, USA
	miVac Quattro

	Ultrasonic bath
	HCS Scientific & Chemical Pte Ltd, Singapore
	SK7

	Vortexer
	DLAB Scientific Co, Ltd., Johor, Malaysia
	MX-S

	pH meter
	Mettler-Toledo, Greifensee, Switzerland
	SD20

	Freezer
	Haier Biomedical, Quingdao, China
	-80 ° C
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	Consumables
	Manufacturer
	Description

	Centrifuge tubes (15 ml)
	JetBiofil, Alicante, Spain
	Amber, Conical button,
Plug seal cap

	Disposable syringes (1 ml)
	Terumo, Eschborn, Germany
	Without needle

	HPLC Vials (2 ml)
	Thermo Fisher Scientific, Massachusetts, USA
	Amber Screw 9 mm

	HPLC Vials lid (2 ml)
	Thermo Fisher Scientific, Massachusetts, USA
	Cap screw 9 mm Blue PP, white silicone

	Inserts (200 µl)
	HCS Scientific & Chemical Pte Ltd, Singapore
	5 mm x 29 mm

	Pipette tips
	Biotix Inc., San Diego, USA
	100 µl, 200 µl, 1000 µl

	SPE cartridges
	Agela Technologies
	Cleanert SCX, 200 mg/ 3ml

	Syringe filter
	HCS Scientific & Chemical Pte Ltd, Singapore
	PVDF, 0.45 µm, 0.2 micron
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	Chemical
	Manufacturer

	Acetonitrile (ACN), LC-MS grade
	VWR Internationale S.A.S, France

	Ammonium hydroxide (NH4OH), Puriss, ~ 25% NH3 basis, Aqueous
	Sigma-Aldrich, Steinheim, Germany

	Ammonium formate (NH4(HCO2)), ≥ 99.0%
	Sigma-Aldrich, Steinheim, Germany

	Formic acid, ACS reagent, ≥ 98.0%
	Sigma-Aldrich, Steinheim, Germany

	Formic acid, LCMS grade
	TCI Chemicals, Japan

	Hydrochloric acid (HCl)
	Sigma-Aldrich, Steinheim, Germany

	Methanol (MeOH), LCMS grade
	VWR Internationale S.A.S, France

	Water (Type 1), produced by a Merck Water Purification system
	Millipore, Darmstadt, Germany
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