| Additional file 9. Mass spectrometry transitions including parent (Q1) and daughter (Q3) ion mass over charge ratios (m/z), retention times (RT) Delustering Potential (DP), Entrance Potential (EP), Collision Energy (CE), Collision Cell Exit Potential (CXP), and Ion mobility parameters including Separation Voltage (SV), Compensation Voltage (COV) and DMS Offset (DMO) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compound# | Q1 | Q3 | RT [min] | DP [V] | EP [V] | CE [V] | CXP [V] | SV [V] | COV [V] | DMO [V] |
| PN_Ion1 | 170.011 | 152 | 5.1 | 46 | 10 | 19 | 20 | 3800 | 5 | 10 |
| PN_Ion2 | 170.011 | 134.2 | 5.1 | 46 | 10 | 29 | 8 | 3800 | 5 | 10 |
| PL_Ion1 | 168.2 | 150.2 | 4.4 | 10 | 10 | 19 | 14 | 3800 | 5 | 10 |
| PL_Ion2 | 168.2 | 94.15 | 4.4 | 10 | 10 | 33 | 10 | 3800 | 5 | 10 |
| PM_Ion1 | 169.019 | 152.2 | 1.8 | 36 | 10 | 15 | 10 | 3800 | 7 | 10 |
| PM_Ion2 | 169.019 | 134.2 | 1.8 | 36 | 10 | 31 | 6 | 3800 | 7 | 10 |
| PMP_Ion1 | 248.979 | 232.1 | 1.5 | 30 | 10 | 19 | 24 | 3800 | 8.5 | 10 |
| PMP_Ion2 | 248.979 | 134.2 | 1.5 | 30 | 10 | 31 | 12 | 3800 | 8.5 | 10 |
| PLP_Ion1 | 248.005 | 150 | 5 | 60 | 10 | 23 | 14 | 3800 | 7 | 10 |
| PLP_Ion2 | 248.005 | 94.1 | 5 | 60 | 10 | 37 | 8 | 3800 | 7 | 10 |
| PLG_Ion1 | 330 | 168.15 | 12.1 | 35 | 10 | 27 | 12 | 3800 | 12 | 10 |
| PLG_Ion2 | 330 | 150.15 | 12.1 | 35 | 10 | 27 | 12 | 3800 | 12 | 10 |
| PLG_Ion3 | 330 | 122.25 | 12.1 | 35 | 10 | 27 | 12 | 3800 | 12 | 10 |
| PN_Cell_Ion1 | 494.1 | 170.25 | 10.6 | 41 | 10 | 33 | 35 | 3800 | 12.75 | 10 |
| PN_Cell_Ion2 | 494.1 | 152.15 | 10.6 | 31 | 10 | 35 | 35 | 3800 | 12.75 | 10 |
| PN_Cell_Ion3 | 494.1 | 108.1 | 10.6 | 36 | 10 | 35 | 35 | 3800 | 12.75 | 10 |
| PNG_Ion1 | 331.9 | 108.2 | 8.2 | 56 | 10 | 33 | 12 | 3800 | 10.75 | 10 |
| PNG_Ion2 | 331.9 | 152.2 | 8.2 | 41 | 10 | 33 | 12 | 3800 | 10.75 | 10 |
| PN_Ara_Ion1 | 302.05 | 108.2 | 10.5 | 56 | 10 | 43 | 12 | 3800 | 9.75 | 10 |
| PN_Ara_Ion2 | 302.05 | 152.25 | 10.5 | 76 | 10 | 33 | 14 | 3800 | 9.75 | 10 |
| PN_Ara_Ion3 | 302.05 | 284.35 | 10.5 | 51 | 10 | 33 | 14 | 3800 | 9.75 | 10 |
| PN_Cell_Ion1 | 332.05 | 108.2 | 6.3 | 80 | 10 | 33 | 8 | 3800 | 11.75 | 10 |
| PN_Cell_Ion2 | 332.05 | 152.25 | 6.3 | 80 | 10 | 33 | 8 | 3800 | 11.75 | 10 |
| PN_Cell_Ion3 | 332.05 | 170.3 | 6.3 | 80 | 10 | 33 | 8 | 3800 | 11.75 | 10 |
| PN_Glucu_Ion1 | 346 | 152.05 | 3.2 | 100 | 10 | 35 | 20 | 3800 | 10 | 10 |
| PN_Glucu_Ion2 | 346 | 108.15 | 3.2 | 82 | 10 | 31 | 20 | 3800 | 10 | 10 |
| PA_Ion1 | 183.75 | 148.15 | 7.85 | 31 | 10 | 29 | 14 | 3800 | 6 | 10 |
| PA_Ion2 | 183.75 | 166.2 | 7.85 | 31 | 10 | 29 | 14 | 3800 | 6 | 10 |
| PA_Ion3 | 183.75 | 65.25 | 7.85 | 31 | 10 | 29 | 14 | 3800 | 6 | 10 |
| Thiamine_Ion1 | 265.011 | 122.1 | 5.8 | 21 | 10 | 21 | 10 | 3800 | 8.5 | 10 |
| Thiamine_Ion2 | 265.011 | 81 | 5.8 | 21 | 10 | 45 | 10 | 3800 | 8.5 | 10 |
| TMP_Ion1 | 344.985 | 122 | 4.1 | 16 | 10 | 29 | 14 | 3800 | 12.5 | 10 |
| TMP_Ion2 | 344.985 | 224 | 4.1 | 16 | 10 | 21 | 12 | 3800 | 12.5 | 10 |
| TDP_Ion1 | 424.957 | 122.2 | 3.1 | 10 | 10 | 29 | 6 | 3800 | 11.75 | 10 |
| TDP_Ion2 | 424.957 | 303.8 | 3.1 | 10 | 10 | 27 | 20 | 3800 | 11.75 | 10 |
| [13C3]-PN_Ion1 | 173.019 | 155.1 | 5.1 | 46 | 10 | 19 | 20 | 3800 | 5 | 10 |
| [13C3]-PN_Ion2 | 173.019 | 137.1 | 5.1 | 46 | 10 | 29 | 8 | 3800 | 5 | 10 |
| [13C6]-PNG_Ion1 | 338.049 | 108.2 | 8.2 | 56 | 10 | 33 | 12 | 3800 | 11.75 | 10 |
| [13C6]-PNG_Ion2 | 338.049 | 152.1 | 8.2 | 41 | 10 | 33 | 12 | 3800 | 11.75 | 10 |
| [13C3]-PL_Ion1 | 171.019 | 153.1 | 4.4 | 10 | 10 | 19 | 14 | 3800 | 5 | 10 |
| [13C3]-PL_Ion2 | 171.019 | 97.1 | 4.4 | 10 | 10 | 33 | 10 | 3800 | 5 | 10 |
| [13C3]-Thiamine_Ion1 | 268.005 | 122.1 | 5.8 | 21 | 10 | 21 | 10 | 3800 | 8.5 | 10 |
| [13C3]-Thiamine_Ion2 | 268.005 | 81 | 5.8 | 21 | 10 | 45 | 10 | 3800 | 8.5 | 10 |
| #Ion 1 indicates quantifiers while remaining ions show qualifiers. |  |  |  |  |  |  |  |  |  |  |