Supplementary Fig.1 Determination of the coating concentration of rLSDV034 protein and serum dilution

Supplementary Table.2 Determination of the dilution of HRP-1H7 monoclonal antibody

| cELISA |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| HRP-1H7 mAb | 1: 50 | 1: 100 | 1: 200 | 1: 300 | 1: 400 | 1: 500 |
| Positive | 1.162 | 0.752 | 0.383 | 0.235 | 0.209 | 0.280 |
| Negative | 2.351 | 2.087 | 1.165 | 0.954 | 0.434 | 0.614 |
| PI（%） | 50.574 | 63.959 | 67.124 | 75.419 | 51.843 | 54.397 |

Supplementary Table.3 Determination of the optimal incubation time for cELISA

| Reaction time | Positive | Negative | PI% |
| --- | --- | --- | --- |
| 30 min | 0.315 | 1.238 | 74.556 |
| 45 min | 0.468 | 1.684 | 72.209 |
| 60 min | 0.419 | 1.655 | 74.683 |

Supplementary Table.4 Determination of the optimal chromogenic conditions for cELISA

|  | 5 min | 10 min | 15 min | 20 min |
| --- | --- | --- | --- | --- |
| Positive | 0.305 | 0.267 | 0.351 | 0.506 |
| Negative | 1.018 | 0.986 | 1.324 | 1.588 |
| PI% | 70.039 | 72.912 | 73.508 | 68.136 |