|  |  | CRL4DCAF1 | CRL4DCAF1-CSN |
| --- | --- | --- | --- |
| Data collection and processing |  |  |  |
| Microscope |  | FEI Titan Krios | FEI F30 Polara |
| Camera |  | Gatan K2 | Gatan K2 |
| Voltage (kV) |  | 300 | 300 |
| Energy filter slit width (eV) |  | 30 |  |
| Total dose (e-/Å2) |  | 45 |  |
| Magnification |  | 130,000 | 31,000 |
| Defocus (µm) |  | -1.5 to -4 | -1.5 to 4 |
| Number of frames |  | 40 | 40 |
| No. of micrographs |  | 1280 | 1185 |
| Pixel size (Å) |  | 0.88 | 1.24 |
| Initial particle images (no.) |  | 158,188 | 173,061 |
| Final particle images (no.) |  | 14,000 | 26,582 |
| Symmetry imposed |  | D2 | C2 |
| Map resolution (Å), FSC threshold 0.143 |  | 8.4 | 20 |
| Refinement |  |  |  |
| Non-hydrogen atoms |  | 44608 | n.a. |
| Protein residues |  | 9028 | n.a. |
| Ligands |  | n.a. | n.a. |
| RMSD |  |  |  |
|  | Bond lengths (Å) | 0.007 | n.a. |
|  | Bond angles (°) | 1.17 | n.a. |
| Average B-factor (Å2) |  | 596 | n.a. |
| MolProbity Score |  | 1.0 | n.a. |
| Clashscore |  | 0.75 | n.a. |
| Ramachandran plot |  |  |  |
|  | Favored (%) | 96.2 | n.a. |
|  | Allowed (%) | 3.5 | n.a. |
|  | Outliers (%) | 0.3 | n.a. |
| Rotamer outliers |  | n.a. | n.a. |
| Model-Map Correlation (CCBox) |  | 0.78 | n.a. |

Table EV1. Cryo-EM data collection, refinement and validation statistics