Table EV1. Cryo-EM data collection, refinements and validation statistics

|  |  | #### CIII/CIV | #### CIV |
| --- | --- | --- | --- |
| Data collection | Microscope | FEI Titan-Krios | FEI Titan-Krios |
|  | Electron source | FEG | FEG |
|  | Voltage (kV) | 300 | 300 |
|  | Electron detector | Gatan K2-summit | Gatan K2-summit |
|  | Micrographs | 8,775 | 8,775 |
|  | Frames/micrograph | 40 | 40 |
|  | Magnification (nominal) | 130,000 | 130,000 |
|  | Magnification (calibrated) | 47,170 | 47,170 |
|  | Pixel size (Å) | 1.06 | 1.06 |
|  | Defocus range (µm) | 1.4 – 3.0 | 1.4 – 3.0 |
|  | Electron dose (eÅ-2) | 40 | 40 |
|  | Electron/camera pixel (e/Å2/s) | 4.394 | 4.394 |
| 3D-reconstruction | Number of particles | 201,223 | 201,223 |
|  | Resolution (Å) (FSC=0.143) | 3.17 | 3.41 |
|  | Map sharpening B-factor (Å2) | 107.1 | 125.9 |
| Model composition | Non-hydrogen atoms | 47034 | 14612 |
|  | Protein residues | 5759 | 1766 |
|  | Ligands | 38 | 16 |
| Model validation | CC (mask) Model vs. Data CC (box) Model vs. Data CC (peaks) Model vs. Data CC (volume) Model vs. Data Mean CC for ligands Ramachandran Favoured (%) Ramachandran Outliers (%) Ramachandran Allowed (%) | 0.85 0.76 0.69 0.84 0.69 93.89 0.05 6.06 | 0.81 0.68 0.59 0.82 0.69 91.04 0.06 8.90 |
|  | RMSD Bond lengths (Å) RMSD Bond angles (°) Clashscore, all atoms Rotamer outliers (%) Molprobity score | 0.013 0.960 6.91 0.39 1.79 | 0.010 0.937 7.43 0.27 1.93 |