## Table EV3
Table EV3: Cell counts for the platelet and the erythrocyte dilution series. The explanations of the abbreviations are in the legend below the tables.
Cell counts for the platelets dilution series
Dilution | WBC [10^3/µL] | RBC [10^6/µL] | HGB [g/dL] | HCT [L/L] | MCV [fL] | MCH [pg] | MCHC [g/dL] | PLT [10^3/µL] | RWD-SD [fL] | RDW-CV [%] | PDW [fL]
Subjects 1-5
1 | 0.05 | 0.15 | 0.1 | 0.005 | 33.3 | 6.7 | 20 | 2701 | U | U | 11.3
1:1 | 0.04 | 0.07 | 0 | 0.003 | 42.9 | 0 | 0 | 1397 | U | U | 11
1:4 | 0.01 | 0.04 | 0 | 0.001 | 25 | 0 | 0 | 682 | U | U | 10.9
1:10 | 0 | 0.02 | 0 | 0.001 | 50 | 0 | 0 | 299 | U | U | 10.9
1:100 | 0 | 0 | 0 | 0 | U | U | U | 34 | U | U | 11.3
1:1000 | 0 | 0 | 0 | 0 | U | U | U | 4 | U | U | U
1:10000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U
1:100000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U
1:1000000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U
1:10000000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U
Subjects 6-10
1 | U | 0.18 | 0.1 | 0.006 | 33.3 | 5.6 | 16.7 | 3038 | U | U | 11.9
1:1 | U | 0.09 | 0 | 0.003 | 33.3 | 0 | 0 | 1562 | U | U | 11.5
1:4 | 0.01 | 0.05 | 0 | 0.002 | 40 | 0 | 0 | 812 | U | U | 11.3
1:10 | 0 | 0.03 | 0 | 0.001 | 33.3 | 0 | 0 | 386 | U | U | 11.7
1:100 | 0 | 0.01 | 0 | 0 | 0 | 0 | U | 44 | U | U | 11.6
1:1000 | 0 | 0 | 0 | 0 | U | U | U | 7 | U | U | 9.7
1:10000 | 0 | 0 | 0 | 0 | U | U | U | 4 | U | U | U
1:100000 | 0 | 0 | 0 | 0 | U | U | U | 4 | U | U | U
1:1000000 | 0 | 0 | 0 | 0 | U | U | U | 4 | U | U | U
1:10000000 | 0 | 0 | 0 | 0 | U | U | U | 4 | U | U | U
Subjects 11-15
1 | 0 | 0.08 | 0 | 0.003 | 37.5 | 0 | 0 | 1810 | U | U | 11.1
1:1 | 0 | 0.04 | 0.1 | 0.002 | 50 | 25 | 50 | 884 | U | U | 11
1:4 | 0 | 0.02 | 0 | 0.001 | 50 | 0 | 0 | 448 | U | U | 10.8
1:10 | 0 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 181 | U | U | 11.6
1:100 | 0 | 0 | 0 | 0 | U | U | U | 18 | U | U | 11.2
1:1000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U
1:10000 | 0 | 0 | 0 | 0 | U | U | U | 0 | U | U | U
1:100000 | 0 | 0 | 0 | 0 | U | U | U | 0 | U | U | U
1:1000000 | 0 | 0 | 0 | 0 | U | U | U | 0 | U | U | U
1:10000000 | 0 | 0 | 0 | 0 | U | U | U | 0 | U | U | U
Subjects 16-20
1 | 0.01 | 0.08 | 0 | 0.003 | 37.5 | 0 | 0 | 1725 | U | U | 10.5
1:1 | 0 | 0.04 | 0 | 0.002 | 50 | 0 | 0 | 925 | U | U | U
1:4 | 0 | 0.02 | 0 | 0.001 | 50 | 0 | 0 | 409 | U | U | U
1:10 | 0 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 199 | U | U | U
1:100 | 0 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 20 | U | U | U
1:1000 | 0 | 0 | 0 | 0.001 | U | U | 0 | 3 | U | U | U
1:10000 | 0.01 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 1 | U | U | U
1:100000 | 0 | 0 | 0 | 0 | U | U | 0 | 1 | U | U | U
1:1000000 | 0 | 0 | 0 | 0 | U | U | U | 0 | U | U | U
1:10000000 | 0 | 0 | 0 | 0 | U | U | U | 0 | U | U | U
WBC | White Blood Cells
RBC | Red Blood Cells
HGB | Haemoglobin
HCT | Haematocrit
MCV | Mean Cell Volume (Red Blood Cells)
MCH | Mean Cell Haemoglobin (Red Blood Cells)
MCHC | Mean Corpuscular Haemoglobin Concentration
PLT | Platelets
RDW-SD | Red Cell Distribution Width SD
RDW-CV | Red Cell Distribution Width CV
PDW | Platelet Distribution Width
Cell counts for the erythrocyte dilution series
Dilution | WBC [10^3/µL] | RBC [10^6/µL] | HGB [g/dL] | HCT [L/L] | MCV [fL] | MCH [pg] | MCHC [g/dL] | PLT [10^3/µL] | RDW-SD [fL] | RDW-CV [%] | PDW [fL] | NRBC [10^3/µL] | NEUT [10^3/µL] | LYMPH [10^3/µL] | MONO [10^3/µL] | EO [10^3/µL] | BASO [10^3/µL] | IG [10^3/µL] | RET [%%]
Subjects 1-5
1:1 | 0.49 | 4.8 | 15.2 | 0.408 | 85 | 31.7 | 37.3 | 4 | 39.2 | 12.9 | 7.5 | 0 | 0.34 | 0.1 | 0.01 | 0.04 | 0 | 0 | 8
1:4 | 0.31 | 2.52 | 8.4 | 0.208 | 82.5 | 33.3 | 40.4 | 5 | 37.2 | 12.9 | 8.8 | 0 | 0.22 | 0.06 | 0.01 | 0.02 | 0 | 0 | 6.5
1:10 | 0.12 | 0.92 | 3.3 | 0.074 | 80.4 | 35.9 | 44.6 | 4 | 36.5 | 12.6 | 3 | 0 | 0.07 | 0.02 | 0.01 | 0.01 | 0 | 0.01 | 6.1
1:100 | 0.01 | 0.1 | 0.04 | 0.008 | 80 | 40 | 50 | 1 | 34.5 | 12.5 | 6.7 | U | U | U | U | U | U | U | U
1:1000 | 0 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 1 | U | U | U | U | U | U | U | U | U | U | U
1:10000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U | U | U | U | U | U | U | U | U
1:100000 | 0 | 0 | 0 | 0 | U | U | U | 2 | U | U | U | U | U | U | U | U | U | U | U
1:1000000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U | U | U | U | U | U | U | U | U
1:10000000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U | U | U | U | U | U | U | U | U
Subjects 6-10
1:1 | 0.35 | 3.7 | 13.6 | 0.342 | 92.4 | 36.8 | 39.8 | 5 | 41.5 | 15.8 | 12.5 | 0 | 0.24 | 0.08 | 0.02 | 0.01 | 0 | 0 | U
1:4 | 0.25 | 1.78 | 7.8 | 0.162 | 91 | 43.8 | 48.1 | 6 | 41 | 14.6 | U | 0 | 0.17 | 0.06 | 0.01 | 0.01 | 0 | 0 | U
1:10 | 0 | 0.3 | 0.2 | 0.002 | 66.7 | 66.7 | 100 | 1 | 39 | 13.9 | 5.5 | U | U | U | U | U | U | U | U
1:100 | 0.01 | 0.06 | 0.3 | 0.005 | 83.3 | 50 | 60 | 3 | 40.5 | 14.1 | 5.8 | U | U | U | U | U | U | U | U
1:1000 | 0 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 3 | U | U | U | U | U | U | U | U | U | U | U
1:10000 | 0 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 3 | U | U | U | U | U | U | U | U | U | U | U
1:100000 | 0 | 0 | 0 | 0 | U | U | U | 3 | U | U | U | U | U | U | U | U | U | U | U
1:1000000 | 0 | 0 | 0 | 0 | U | U | U | 3 | U | U | U | U | U | U | U | U | U | U | U
1:10000000 | 0 | 0 | 0 | 0.001 | U | U | 0 | 3 | U | U | U | U | U | U | U | U | U | U | U
Subjects 11-15
1:1 | 0.26 | 4.55 | 14.7 | 0.386 | 84.8 | 32.3 | 38.1 | 3 | 39.2 | 12.9 | U | 0 | 0.19 | 0.05 | 0.01 | 0.01 | 0 | 0 | 6.4
1:4 | 0.11 | 1.85 | 6.7 | 0.163 | 88.1 | 36.2 | 41.1 | 2 | 37.3 | 13.8 | U | 0 | 0.08 | 0.02 | 0 | 0.01 | 0 | 0 | 5
1:10 | 0.07 | 0.8 | 3.4 | 0.073 | 91.3 | 42.5 | 46.6 | 2 | U | U | U | 0 | U | U | U | U | U | U | 4.7
1:100 | 0.01 | 0.06 | 0.3 | 0.006 | 100 | 50 | 50 | 1 | 34.9 | 12.5 | U | U | U | U | U | U | U | U | U
1:1000 | 0 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 0 | U | U | U | U | U | U | U | U | U | U | U
1:10000 | 0 | 0 | 0 | 0 | U | U | 0 | U | U | U | U | U | U | U | U | U | U | U | U
1:100000 | 0 | 0 | 0 | 0 | U | U | 0 | U | U | U | U | U | U | U | U | U | U | U | U
1:1000000 | 0 | 0 | 0 | 0 | U | U | 0 | U | U | U | U | U | U | U | U | U | U | U | U
1:10000000 | 0 | 0 | 0 | 0 | U | U | 0 | U | U | U | U | U | U | U | U | U | U | U | U
Subjects 16-20
1:1 | 0.13 | 3.77 | 15.5 | 0.341 | 90.5 | 41.1 | 45.5 | 3 | 37.5 | 13.2 | U | 0 | 0.1 | 0.02 | 0 | 0.01 | 0 | 0 | 7.3
1:4 | 0.06 | 1.68 | 7.8 | 0.147 | 87.5 | 46.4 | 53.1 | 2 | 35.8 | 11.9 | U | 0 | U | U | U | U | U | U | 10.3
1:10 | 0.03 | 0.59 | 2.9 | 0.05 | 84.7 | 49.2 | 58 | 2 | 34.6 | 11.8 | U | 0 | U | U | U | U | U | U | 22.3
1:100 | 0 | 0.07 | 0.3 | 0.006 | 85.7 | 42.9 | 50 | 1 | 35.7 | 12.1 | 3.7 | U | U | U | U | U | U | U | U
1:1000 | 0 | 0.01 | 0.1 | 0.001 | 100 | 100 | 100 | 1 | U | U | U | U | U | U | U | U | U | U | U
1:10000 | 0 | 0.01 | 0 | 0.001 | 100 | 0 | 0 | 0 | U | U | U | U | U | U | U | U | U | U | U
1:100000 | 0 | 0 | 0 | 0.001 | U | U | 0 | 0 | U | U | U | U | U | U | U | U | U | U | U
1:1000000 | 0 | 0 | 0 | 0 | U | U | U | 1 | U | U | U | U | U | U | U | U | U | U | U
1:10000000 | 0 | 0 | 0 | 0.001 | U | U | 0 | 0 | U | U | U | U | U | U | U | U | U | U | U
WBC | White Blood Cells
RBC | Red Blood Cells
HGB | Haemoglobin
HCT | Haematocrit
MCV | Mean Cell Volume (Red Blood Cells)
MCH | Mean Cell Haemoglobin (Red Blood Cells)
MCHC | Mean Corpuscular Haemoglobin Concentration
PLT | Platelets
RDW-SD | Red Cell Distribution Width SD
RDW-CV | Red Cell Distribution Width CV
PDW | Platelet Distribution Width
NRBC | Nucleated Red Blood Cells
NEUT | Neutrophiles
LYMPH | Lymphocytes
MONO | Monocytes
EO | Eosinophiles
BASO | Basophiles
IG | Immature Granulocytes
RET | Reticulocytes