Criteria for the selection of tests for the test performance study for tomato spotted wilt orthotospovirus

| Criterion | Descriptor | Target | Relative weight |  |
| --- | --- | --- | --- | --- |
|  |  |  | Laboratory | On-site |
| Validation data (prior preliminary studies) |  |  |  |  |
| Is the target (gene/protein) appropriately selected? | Yes/No |  |  |  |
| Available validation data | Yes/No |  |  |  |
| Validation data available for selected matrix | Yes/No |  |  |  |
| Analytical sensitivity (LOD) (pure culture or DNA diluted in water) | Concentration (absolute, if possible; relative; low/medium/high) |  |  |  |
| Analytical sensitivity in plant material (selected matrix) | Concentration (absolute, if possible; relative; low/medium/high) |  |  |  |
| Diagnostic sensitivity (comparison of different tests) | % |  |  |  |
| Analytical specificity | Level |  |  |  |
| a) Exclusivity (non-target organism): false positives | Level |  |  |  |
| b) Inclusivity (target organisms): false negatives | Level |  |  |  |
| Selectivity | Presence of cross-reactions with matrix |  |  |  |
| Repeatability (near LOD) | Level |  |  |  |
| Reproducibility/ robustness | % |  |  |  |
| Results of interlaboratory comparisons available | Yes/No |  |  |  |
| Additional information (not a criterion!) |  |  |  |  |
| Type of matrix |  |  |  |  |
| Extraction method |  |  |  |  |
| Use on symptomatic/ asymptomatic material |  |  |  |  |
| Other - Used successfully in different laboratories (according to literature) - part of the target genome |  |  |  |  |
| Validation data (after preliminary studies) |  |  |  |  |
| Analytical sensitivity (LOD) (pure culture or DNA diluted in water) | Concentration (absolute, if possible; relative; low/medium/high) |  |  |  |
| Analytical sensitivity in plant material (selected matrix) | Concentration (absolute, if possible; relative; low/medium/high) |  |  |  |
| Diagnostic sensitivity (comparison of different tests) | % |  |  |  |
| Analytical specificity | Level |  |  |  |
| a) Exclusivity (non-target organism): false positives | Level |  |  |  |
| b) Inclusivity (target organisms): false negatives | Level |  |  |  |
| Selectivity | Presence of cross-reactions with matrix |  |  |  |
| Repeatability (near LOD) | Level |  |  |  |
| Reproducibility/ robustness | % |  |  |  |
| Applicability |  |  |  |  |
| Applicability in different matrices | Level |  |  |  |
| Amount of material which is included in one sample | Amount of plant units tested |  |  |  |
| Standardised preparation of the reaction (e.g., ready to use reagents) | Yes/No |  |  |  |
| Availability and relevance of controls (in the case of kits) | Yes/No |  |  |  |
| Protocols |  |  |  |  |
| Available detailed protocols | Yes/No |  |  |  |
| Simple test procedure | Yes/No |  |  |  |
| Simplicity of data analysis | Yes/No |  |  |  |
| User friendly test | Yes/No |  |  |  |
| Time needed to complete analysis (<1 h/ 1 day/ several days) | Duration in time unit |  |  |  |
| Easy to multiplex | Yes/No |  |  |  |
| Database/library dependent (yes/no) (e.g., fatty acids profiling, sequencing) | NA |  |  |  |
| Chemicals |  |  |  |  |
| Stability of chemicals at ambient temperature | Yes/No |  |  |  |
| Equipment |  |  |  |  |
| No equipment/ instruments needed (relevant only for on-site tests) | Yes/No |  |  |  |
| Test not exclusively developed for a specific instrument | Yes/No |  |  |  |
| Cost of obligatory equipment/ instruments (<€10,000/ €10,000-€50,000/ >€50,000) | Cost (€) |  |  |  |